OWG Report to ROS

7-14-05

The OWG met on June 22nd, 2005. The following OGRRs are pending at the OGRTF:

1.	154OGRR -Generator Protection Requirements - A special meeting of Market Participants at the OGRTF was conducted on June 21st. There many different participants in attendance including TDSPs, QSEs and PGCs. This OGRR was discussed extensively and a consensus set of revised language was developed and is currently out for final comment.

2.	OGRR169 – Reporting of Reserve Capability Under Severe Gas Curtailments – The OGRTF revised this OGRR in concert with ERCOT and has posted the revised OGRR for further comment. As of 7-8-05 there was one additional set of comments to the 169OGRR OGRTF comments.

- The Black Start Task Force has not met since March 25th.

- The OTF is scheduled to meet on July 25th

- James Hinson discussed Protocol 6.6.4 and the difficulty Ops is having when dealing with shortages in RRS when units are OOM’d that have been awarded RRS in the DA market. ERCOT Legal has advised Ops that there is no legal president to stop issuing VDI’s for QSEs that are OOM’d. Rick Keetch stated that there is 3k to 4k of “free” available RRS from the market, (Generation and LaaR). Ops have the ability to see and call-on the RRS that is considered “free”. ERCOT Ops is currently looking at developing a second A/S Market to acquire additional RRS when shortages occur from OOM’d units. DC Tie Scheduling Tool are under development. 280 to 500 MWs maybe imported through the new Mexican DC Tie Facility. DC Tie Working Group to be created. In the Daily Operations Report, it was requested the daily load stats be added to this report when a unit trips. This is now being done for unit trips that cause a frequency deviation of 0.1 Hz or greater.

- The next OWG meeting will be July 20th at the Met Center Facility.