| PRR Number | 163OGRR | PRR Title | State Estimator Observability and Redundancy Requirements |
| --- | --- | --- | --- |
| Impact Analysis Date |  | July 13, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None |  |
| ERCOT Staffing Impacts (across all areas) |  | None |  |
| ERCOT Computer System Impacts |  | None |  |
| ERCOT Business Function Impacts |  | This revision places specific criteria for requesting additional telemetry in the Operating Guides, but does not change ERCOT's existing responsibility to perform continual analysis to maintain the ERCOT System in a reliable and secure state. The annually published list of telemetry points critical to state estimator solutions is a new requirement that will be absorbed by current ERCOT staff. |  |
| Grid Operations & Practices Impacts |  | Formalizing the requirements for requesting additional telemetry and the options available to QSEs/TDSPs upon receiving such a request should result in a more accurate network model and state estimation solution, and therefore a more reliable and secure ERCOT System. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

None