| PRR Number | 614 | PRR Title | Balancing Bids for Replacement Capacity |
| --- | --- | --- | --- |
| Impact Analysis Date |  | July 20, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 6-LL (less than $100,000) |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Internal development and testing would take a full week. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. |  |
| ERCOT Computer System Impacts |  | ERCOT development staff would make a minor change to the bid point verification procedure in the market database to confirm that awarded Replacement megawatts that are bid to the Balancing Energy market are within the unit sustainable limits. |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None identified.

Evaluation of Interim Solutions (e.g., manual workarounds)

No feasible workaround.

Comments

This Impact Analysis is applicable both to the PRR as originally submitted by the sponsor and to the proposed revisions submitted by ERCOT.