# APPENDIX II.C. – DISTURBANCE REPORT

- ISO Data

The ISO will record the following data from all ERCOT Control Areas for frequency deviations .175 Hz. or greater and will use this information to generate the ERCOT initial Disturbance Report:

a.	Net interchange (MW) immediately before the disturbance

b.	Net interchange (MW) immediately after the disturbance

c.	Control Bias

d.	Net MW Capability (including any capability lost) at the time of the disturbance

e.	Net System Load (MW) for the hour ending closest to the time of the disturbance

f.	Scheduled Net Interchange (MW) at the time of the disturbance

g.	Amount of interruptible load (MW) tripped

- Control Area Data

The Generation Entity losing the unit will provide, at the request of and through the Host Control Area, the following data to the ISO as soon as possible after the disturbance:

- Unit lost

- Released net dependable capability (MW)

- Net generation at time of loss

- Nature of Trouble/Reason for loss

- Time/Date of loss

- PDC Reports

The above information, plus unit performance data, will be used by each Control Area to generate detailed reports for the PDC Task Force and will be submitted to the PDC Task Force at the next regularly scheduled meeting.

# 77