| PRR Number | 611 | PRR Title | Reporting of Operation Reserve Capability Under Severe Gas Curtailments |
| --- | --- | --- | --- |
| Date |  | July 1, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Manuel Munoz |  |
| E-mail Address |  | Manuel.munoz@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  | 1111 Louisiana, Houston, Tx. 77002 |  |
| Phone Number |  | 713-207-5398 |  |
| Fax Number |  | 713-207-0499 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

CenterPoint Energy supports this PRR but believes that the information described should be reported on a zonal basis as well. A description of what constitutes alternative fuel is also included in the edits below.

Revised Proposed Protocol Language

    - Winter Preparedness Report

By November, 1 of each year, ERCOT shall post a report of the forecasted December through February ERCOT operating reserve levels under a severe gas curtailment scenario.  The report will include the following on both a system-wide and Congestion Zone basis:

- The aggregate alternative fuel (i.e., fuel other than natural gas) maximum capability in MW and the average number of hours of operation at maximum output with alternative fuel;

- The average number of hours per day at maximum output with the corresponding maximum output utilizing firm gas supply and transportation contracts; and

- The aggregate MW output at a maximum daily sustainable rate utilizing firm gas supply and transportation contracts.

By September 1 of each year, Generation Entities shall submit information, as prescribed in the Operating Guides, for each Generation Resource registered with ERCOT to enable ERCOT to prepare this report.