| PRR Number | 586 | PRR Title | SCE Performance and Regulation Cost Re-allocation |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Remanded to ROS |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.10.5, QSE Real Power Performance Criteria 9.6.1, Balancing Energy Neutrality Adjustment |  |  |
| Proposed Effective Date |  |  |  |  |
| Priority and Rank Assigned |  |  |  |  |
| Revision Description |  | Replaces monitoring of Qualified Scheduling Entity’s (QSEs) adherence to their base power schedules, Balancing Energy Dispatch Instructions, and Ancillary Service (AS) Dispatch Instructions with a single metric that motivates QSEs to stay on schedule and perform their obligations. The intent of this PRR is to provide a financial incentive for QSEs to closely follow Scheduling Control Error (SCE), and to reduce the need for large Regulation Service acquisition and deployment by ERCOT caused by poor SCE performance. |  |  |
| Overall Market Benefit |  | Reduction in amount of Ancillary Services needed and therefore in AS Costs; as well as improved power quality as a result of better frequency control |  |  |
| Overall Market Impact |  | May increase costs depending on additional efforts a QSE has to make to maintain a low SCE |  |  |
| Consumer Impact |  | Anticipated reduction in amount of AS needed and, therefore, in AS costs; improved power quality as a result of better frequency control |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR586 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR586 was posted on 4/4/05, with request for urgency status. - On 4/5/05, PRS denied the request for Urgent Status by email vote. - At the 4/15/05 Open Meeting the Commission requested a back-cast analysis (analysis) of the proposal. - The analysis was made available to PRS and WMS on 4/20/05. - At the 4/22/05 WMS discussed the analysis. - WMS again discussed this PRR at its 5/18/05 meeting. - On 5/19/05, PRS considered this PRR and remanded the PRR to ROS, with the request that ROS report a resolution to PRS in July. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 5/19/05, PRS voted on and passed a motion to remand the PRR to ROS, with a suggestion that PDCWG review PRR586, and return results to PRS by its July meeting, with specific instructions to: - frame the problem; - determine whether PRR586 resolves that problem; - provide revisions to PRR586 so that it resolves the problem or develop a new PRR that resolves the problem; and - determine any unintended consequences that could result from PRR586. The motion passed with four nays from the Coop, Independent Generator and IPM segments, and one abstention from the IPM segment. All market segments were present. |  |  |
| Summary of PRS discussion |  | Market Participants were uncomfortable with the PRR, even with revisions proposed by PUC WMO. Of particular concern were the ramping periods and identification of Market Participants experiencing high SCE. Participants also discussed whether SCE violations are a symptom of the frequency response problem and that a PRR to punish SCE violations will not necessary fix the problem. Some participants argued that the objective was not necessarily to reduce regulation, but to assign the cost to those who causer regulation deployments. Others argued that the market should define the problem (occurring at 2200 and 0600) and develop a solution to the problem, rather than approve a PRR to fix SCE violations. PUC WMO responded that this was unacceptable because Potomac had already defined the problem. Finally, participants noted that the market had not yet examined results form the implementation of PRR525, and that they should be incorporated into any further discussions on PRR586. PUC WMO opined that PRR525 is ineffective and no presentation was necessary. |  |  |

ERCOT/Market Segment Impacts and Benefits

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Reduction of staff time currently spent monitoring QSEs SCE performance | Not known | Anticipated improved frequency performance, hence better control of the system and potential reduction in reliability issues; reduction of staff time currently spent monitoring QSEs’ SCE performance |
| MARKET SEGMENT |  |  |  |
| Consumer | Reduction in Ancillary Services Costs | None | Anticipated Reduction in amount of Ancillary Services needed and therefore in A/S Costs; improved power quality as a result of better frequency control |
| LSE: General, Including NOIE | Reduction in Ancillary Services Costs | None | Anticipated reduction in Ancillary Services Costs |
| LSE: CR & REP | Reduction in Ancillary Services Costs | None | Anticipated reduction in Ancillary Services Costs |
| QSE | May or may not increase costs somewhat depending on additional efforts a QSE has to make to maintain a low SCE | Not known | If the QSE represents loads and its SCE is low, it will receive a financial benefit. If a QSE doesn’t serve Load and doesn’t adequately control its SCE, it will not benefit |
| Resource | Not known | Not known | Better frequency performance will be of benefit because easier on generators |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Danielle Jaussaud |
| Company | PUC-WMO |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| FPLE 041805 | Cost allocation methodology is inherently incompatible with ERCOT’s systems. |
| Cielo Wind 042005 | Cost allocation methodology is inherently incompatible with ERCOT’s systems. |
| ERCOT Back-Cast Analysis 042105 | Applies PRR to historical data to determine impacts. |
| ERCOT 051205 | Offers revision to PRR 525 to achieve the same results as PRR 586 and suggests retaining other provisions of PRR 525. |
| Garland 051705 | Supports PUC-WMO proposal and disputes validity of ERCOT’s alternative proposal. |

Proposed Protocol Language Revision

6.10.5	QSE Real Power Performance Criteria

QSEs that are not providing any Ancillary Services in any of the current Operating Day’s markets shall make a good faith effort to cause their Resources to operate to the final Resource bilateral schedules as converted to a base power function according to the method specified in Section 6.10.4.2, Base Power Schedule Calculation.

QSEs providing only Balancing Energy Services shall declare this intent to ERCOT in the Scheduling Process.  On deployment of Balancing Energy Services, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of the Balancing Energy Services Dispatch Instruction.

QSEs providing Responsive Reserve Services must so indicate in the Scheduling Process.  QSEs shall have Resources available to meet the schedule while adhering to the Responsive Reserve Service requirements detailed in the Operating Guides. On deployment of any Responsive Reserve Service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the instructed Responsive Reserve Service power requirement.

QSEs providing Non-Spinning Reserve Services must so indicate in the Scheduling Process.  On deployment of any Non-Spinning Reserve Service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the instructed Non-Spinning Reserve power requirement.

QSEs providing a combination of services shall control their Resources to the additive result of any number of Dispatch Instructions deployed simultaneously.  On deployment of any Balancing Energy, Regulation, Responsive Reserve, and Non-Spinning Reserve Service; the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the additive power requirement of each effective Dispatch Instruction.

#### 6.10.5.1	 Ancillary Services Demand Factor

For each Settlement Interval ERCOT shall calculate an Ancillary Service Demand Factor for each QSE in accordance with the following:

ASDFqi = SUM of (-1 * ISCEqm * REGNm) for each minute in the interval,

Where:	  ISCEqm = the one minute integration of the signed value of the SCE of the QSE (negative sign indicates the need to raise generation)

REGNm = the one minute average interconnection Regulation Need (regulation deployed minus ERCOT Area Control Error)

Provided that if in any minute, (ISCEqm*REGNm) for a QSE is less than zero, then (ISCEqm*REGNm) is set to zero for that QSE for that minute; and

Provided that if in any minute, total aggregated ISCEqm of all QSEs is less than 100 MW and greater than -100 MW, then REGNm is set to zero for that minute.

For each Settlement Interval ERCOT shall determine the Total Positive Ancillary Service Demand Factor (TPASDFi), the arithmetic sum of all ASDFqi.

TPASDFi = ∑ASDFqi

6.10.5.2	Regulation Cost Reallocation

For each Settlement Interval ERCOT shall calculate an Ancillary Service Cost Reallocation Charge for each QSE in accordance with the following:

ASCRqi = IECASi * (ASDFqi/ TPASDFi)

Where:  IECASi = The Interval Equivalent Cost of Ancillary Services, determined by ERCOT to be 50% of the cost of Regulation Service (plus 50% of the cost of Frequency Response Service if and when effective) for the interval, based on the capacity clearing prices for each such Service, and the total amount of capacity for each such Service procured by ERCOT, during the hour containing the interval.

[PRR311 and PRR484: Add the following upon system implementation:] On deployment of BULs, the QSE shall control its Loads to the difference between its scheduled power and the BUL instructed amount. ERCOT, at a time established at its discretion, shall determine the base Load of the sum of all Loads qualified by the QSE as BUL Resources by obtaining actual meter data from IDR meters, or from a sample of Loads controlled under a Direct Load Control (DLC) program qualified in accordance with Section 18.7.2, Load Profiling of ESI IDs Under Direct Load Control, or directly from the TDSP who has agreed to supply the data. While IDRs must normally be present on all Loads providing BUL Resources, IDRs may be installed and read on a sample of the Loads qualified by a QSE as a BUL Resource, provided the Loads are sampled in accordance with Section 18.7.2, Load Profiling of ESI IDs under Direct Load Control. Except in the case of a qualified DLC program, the base Load is determined by finding the average actual metered energy during the same interval as the instruction to deploy BUL from the previous ten (10) days (in the case of weekday deployment) or six (6) days (in the case of weekend or holiday deployment). In the case of a qualified DLC program, the base Load is the representative sample metered energy administered in accordance with Section 18.7.2, Load Profiling of ESI IDs Under Direct Load Control. Days in which BUL instructions occurred during the same interval are ignored. If the instruction to deploy occurs on a weekday, only weekdays are included in the average. If the instruction to deploy occurs on a weekend, only weekend days and ERCOT-defined holidays are included in the average. For small Customer Load management programs, base Load for each interval is determined from the aggregated appropriate baseline Load Profile for participating customers assuming the Load management program is not in operation. ERCOT shall also integrate, for each Settlement Interval, the signal provided by the QSE representing the amount of BUL power deployed. The expected total reduction of Load shall be determined by subtracting the integrated signal for each interval from the base Load as determined above. For small Customer Load management programs during each interval, the expected total reduction of Load shall be determined by subtracting the aggregated participating Customer Load during operation of the Load management program, which is calculated from the appropriate Load Profile, from the base Load for these customers as calculated above. Control performance of the QSE providing BUL shall be deemed satisfactory when during the first hour in which BUL is deployed in an Operating Day, the actual metered Load for any Settlement Interval during the hour is equal to or less than the amount of energy expected. Control performance of the QSE providing BUL through a qualified DLC program shall be deemed satisfactory when, during the first hour in which BUL is deployed in an Operating Day, the estimated actual Load developed from the representative sample administered in accordance with Section 18.7.2, Load Profiling of ESI IDs Under Direct Load Control, for any Settlement Interval during the hour is equal to or less than the amount of energy expected. Failure of the QSE to provide satisfactory control performance during the first hour in which BUL is deployed in an Operating Day will cause ERCOT to withhold payments for any capacity provided as BUL for the Operating Day. Failure of a BUL to provide at least ninety percent (90%) of the expected total Load during the first hour of deployment for three (3) Operating Days in a year will disqualify a BUL. The QSE will have to requalify the specific BUL; however, there will be a ninety (90) day waiting period before the BUL can be requalified. To be requalified, the BUL will have to successfully reduce Load during the following BUL requalification test. The QSE shall nominate to ERCOT the BUL which it wishes to requalify. During a period of time mutually agreed to by the QSE and ERCOT, at a specific time selected by ERCOT, the ERCOT operator will notify the QSE that it wants to reverify the BUL’s ability to provide ERCOT with the appropriate Load reduction. Upon receipt of the ERCOT Notification, the QSE Operator will immediately initiate the BUL reduction and provide ERCOT with the appropriate signal representing the amount of Load to be reduced. Upon completion of the deployment interval, the ERCOT Testing Operator shall call the QSE and notify it that the test is complete. At this time the deployed Resources may be restored to their normal state. Except in the case of a qualified DLC program, Load used to provide BUL Resources shall be requalified for correct operation by comparing the average energy in a Settlement Interval as recorded on IDR meters to the expected reduction in total Load indicated by the QSE’s signal to ERCOT. In the case of a qualified DLC program, the base Load is the average energy in a Settlement Interval developed from the representative sample administered in accordance with Section 18.7.2, Load Profiling of ESI IDs Under Direct Load Control. Once ERCOT has verified that it actually received the committed Load reduction from the BUL, the QSE will be notified when the BUL can resume providing Balancing Up Energy Service. If the BUL fails the requalification test, the QSE may request an additional requalification test for that BUL, but the BUL shall not be allowed to have more than three (3) requalification tests in a year.

6.10.5.3	Effect on SCE of ERCOT Instructions

Operational instructions by ERCOT shall be included in SCE to the greatest extent possible.  In the event of operational instructions by ERCOT that directly cause any QSE to increase or decrease its SCE, appropriate adjustments to ISCEqm shall be made in settlement when performing the calculations in 6.10.5.1. In the event appropriate adjustments cannot be performed, ASDFqi shall be set equal to 0 for that QSE for all intervals in which the adjustment cannot be made. The extent of the need to make such adjustments shall be reported periodically to the appropriate subcommittee.

AVG(month)SCE1ParticipationFactor∗ΔF1(10∗Bias1)∗ε21≤1

SCE10≤L10∗KParticipationFactor

9.6.1	Balancing Energy Neutrality Adjustment

Any dollar disparity between Load Imbalance, Resource Imbalance, Mismatched Schedule Payments, Mismatched Schedule Charges, TCR Payments, CSC costs, and any charge resultant from Ancillary Service Cost Reallocation or Uninstructed Deviations will be allocated to Load Serving Entities on a Load Ratio Share for each interval to ensure revenue neutrality of the imbalance market.  The net dollar amount could be negative or positive.

To determine the Balancing Energy Neutrality Allocation for a QSE, take the sum of the Resource Imbalance, Load Imbalance, Uninstructed Resource Charge, Mismatched Schedule Payments, Mismatched Schedule Charges, Total Ancillary Service Cost Reallocation Payments, payments to TCR account holders, and the total Balancing Energy CSC costs; and multiply this amount by the Load Ratio Share of that QSE for the given interval.

BENAiq	=	-1 * (Σ (RIiz + LIiz + URCiz+ MISDiz+ MISRiz)z + TASCRi + TCRPAYBei + Σ CSCBei  ) * LRSiq

TCRPAYBei  	=	- Σ (TCRcsci ) / 4 * SPCSCi )CSC

BENAiq	Balancing Energy Neutrality Adjustment collected from the QSEs in that interval

CSCBEi	The total Balancing Energy CSC costs per interval for all QSEs

LIiz:	Load Imbalance per interval, per zone

LRSiq	QSE Load Share relative to total Load in that interval

MISDiz	Mismatched schedule payments for the mismatched amounts delivered to ERCOT, per interval, per zone

MISRiz	Mismatched schedule charges for the mismatched amount received from ERCOT, per interval, per zone

RIiz:	Resource Imbalance per interval, per zone

SPCSCi	Energy Shadow Price per CSC per interval

TASCRi	Total Ancillary Service Cost Reallocation Payment from all QSEs for that interval

TCRCSCi	Total number of TCRs per CSC for interval, i

TCRPAYBei 	Payment to the TCR Account Holder per interval

URCiz	Uninstructed Resource Charge per interval per zone