| PRR Number | 609 | PRR Title | Smooth 15-minute Resource Schedules |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Rejected |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 4.3.5 Requirement for Balanced Schedules |  |  |
| Proposed Effective Date |  | n/a |  |  |
| Priority and Rank Assigned |  | n/a |  |  |
| Revision Description |  | This PRR was developed to address Potomac Economics Recommendation #7. It would have Introduced explicit language that encourages QSEs to make use of Relaxed Balanced Schedules so that Resource Schedules are within the capability of the generating unit and make reasonable transitions between the 15-minute intervals. |  |  |
| Overall Market Benefit |  | If applicable Market Participants were to follow this recommendation (see ERCOT comments) the market would benefit from improved Resource Schedules. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR 609 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR 609 was posted on 6/1/05. - On 7/14/05, ERCOT posted comments. - PRS considered this PRR on 7/21/05. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | PRS voted to reject this PRR. The motion passed with three abstentions from the Consumer, Generator and Coop segments. All market segments were present. |  |  |
| Summary of PRS discussion |  | There was no discussion other than recognizing QSE PM WG for its efforts in developing this PRR. |  |  |

ERCOT/Market Segment Impacts and Benefits

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Improved Resource Schedules |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | Greater awareness of scheduling alternatives | Some | Improved Resource Schedules |
| Resource | Greater awareness of scheduling alternatives | Some | Improved Resource Schedules |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Larry Gurley |
| Company | Tenaska |
| Segment | Generator |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT 071405 | The proposed language does not provide any mandate or direction to ERCOT or Market Participants; therefore, it is not appropriate Protocol language. |

Proposed Protocol Language Revision

4.3.5	Requirement for Balanced Schedules.

A QSE shall submit to ERCOT only Balanced Schedules, for both energy and Ancillary Services, in the Day Ahead Scheduling Process and the Adjustment Period.  If a QSE submits a schedule that is not a Balanced Schedule, ERCOT shall reject that schedule in accordance with Section 4.4.13, ERCOT Day Ahead Ancillary Services Procurement Process.

QSE s may relax their Balanced Schedules by projecting interval Supply and setting aggregate Obligations equal to aggregate Supply, however, Inter-QSE Trades must still match in accordance with Section 4.7.2, Schedule Validation Process.  ERCOT Operations may commit Resources, as required, to maintain the balance of Loads and Resources on a system-wide and zonal basis; including, but not limited to, the commitment of Replacement Reserves, following the Day-Ahead and during the Adjustment Period, to assure the adequacy of Balancing Energy Services.

In order to create Resource Schedules that are within the capabilities of the QSE’s resources, QSE’s are encouraged to make use of Relaxed Balanced Schedules through fifteen (15) minute scheduling of generation to Load and by buying from the BES market through the Scheduling Process as provided in Section 4.3.2, Schedule Components.