## profile lag
ANNUAL VALIDATION PROFILE ID ASSIGNMENT LAG -- ESIID PROFILE TYPES OUT OF PHASE
PROFILE ASSIGNMENT
| 2002 | 2003 | 2004 | ESIIDs | WRONG 2003 | WRONG 2004 | RIGHT BOTH YEARS | WRONG ONE YEAR | WRONG TWO YEARS
| BUSHILF | BUSHILF | BUSHILF | 14825 | 0 | 0 | 14825 | 0 | 0
| BUSMEDLF | BUSHILF | BUSHILF | 2855 | 2855 | 0 | 0 | 2855 | 0
| BUSMEDLF | BUSMEDLF | BUSHILF | 2695 | 0 | 2695 | 0 | 2695 | 0
| BUSHILF | BUSMEDLF | BUSHILF | 1255 | 1255 | 1255 | 0 | 0 | 1255
| BUSLOLF | BUSHILF | BUSHILF | 286 | 286 | 0 | 0 | 286 | 0
| BUSLOLF | BUSLOLF | BUSHILF | 270 | 0 | 270 | 0 | 270 | 0
| BUSLOLF | BUSHILF | BUSHILF | 215 | 215 | 0 | 0 | 215 | 0
| BUSMEDLF | BUSLOLF | BUSHILF | 104 | 104 | 104 | 0 | 0 | 104
| BUSHILF | BUSLOLF | BUSHILF | 50 | 50 | 50 | 0 | 0 | 50
|  | BUSHILF TOTAL |  | 22555 | 4765 | 4374 | 14825 | 6321 | 1409
[5 empty] | 21.13% | 19.39% | 65.73% | 28.02% | 6.247%
| BUSMEDLF | BUSMEDLF | BUSMEDLF | 43665 | 0 | 0 | 43665 | 0 | 0
| BUSLODLF | BUSMEDLF | BUSMEDLF | 6121 | 6121 | 0 | 0 | 6121 | 0
| BUSLODLF | BUSLODLF | BUSMEDLF | 5709 | 0 | 5709 | 0 | 5709 | 0
| BUSMEDLF | BUSLODLF | BUSMEDLF | 2683 | 2683 | 2683 | 0 | 0 | 2683
| BUSHILF | BUSMEDLF | BUSMEDLF | 2394 | 2394 | 0 | 0 | 2394 | 0
| BUSHILF | BUSHILF | BUSMEDLF | 2185 | 0 | 2185 | 0 | 2185 | 0
| BUSMEDLF | BUSHILF | BUSMEDLF | 1873 | 1873 | 1873 | 0 | 0 | 1873
| BUSLOLF | BUSHILF | BUSMEDLF | 144 | 144 | 144 | 0 | 0 | 144
| BUSHILF | BUSLOLF | BUSMEDLF | 128 | 128 | 128 | 0 | 0 | 128
|  | BUSMEDLF TOTAL |  | 64902 | 13343 | 12722 | 43665 | 16409 | 4828
[5 empty] | 20.56% | 19.6% | 67.28% | 25.28% | 7.439%
| BUSLOLF | BUSLOLF | BUSLOLF | 164232 | 0 | 0 | 164232 | 0 | 0
| BUSMEDLF | BUSLOLF | BUSLOLF | 6090 | 6090 | 0 | 0 | 6090 | 0
| BUSMEDLF | BUSMEDLF | BUSLOLF | 5157 | 0 | 5157 | 0 | 5157 | 0
| BUSLOLF | BUSMEDLF | BUSLOLF | 3829 | 3829 | 3829 | 0 | 0 | 3829
| BUSHILF | BUSLOLF | BUSLOLF | 412 | 412 | 0 | 0 | 412 | 0
| BUSHILF | BUSMEDLF | BUSLOLF | 377 | 377 | 377 | 0 | 0 | 377
| BUSHILF | BUSHILF | BUSLOLF | 236 | 0 | 236 | 0 | 236 | 0
| BUSLOLF | BUSHILF | BUSLOLF | 200 | 200 | 200 | 0 | 0 | 200
| BUSMEDLF | BUSHILF | BUSLOLF | 146 | 146 | 146 | 0 | 0 | 146
|  | BUSLOLF TOTAL |  | 180679 | 11054 | 9945 | 164232 | 11895 | 4552
[5 empty] | 6.118% | 5.504% | 90.9% | 6.583% | 2.519%
|  |  | TOTAL | 268136 | 29162 | 27041 | 222722 | 34625 | 10789
[5 empty] | 10.88% | 10.08% | 83.06% | 12.91% | 4.024%
Note: table is based on ESIIDs with complete data for all three years

## profile vs month lf
MONTHLY READS AND ANNUAL USE BY ASSIGNED PROFILE TYPE VS MONTHLY LOAD FACTOR
|  | PERCENT OF MONTHLY READS |  |  |  | PRECENT OF ANNUAL KWH
|  | LOAD FACTOR CATEGORY |  |  |  | LOAD FACTOR CATEGORY | [8 empty] | ROW PERCENTS |  |  |  | COLUMN PERCENTS
TDSP | ASSIGNED PROFILE TYPE | LOW | MEDIUM | HIGH |  | LOW | MEDIUM | HIGH
[11 empty] | BUSLOLF | BUSMEDLF | BUSHILF | TOTAL | BUSLOLF | BUSMEDLF | BUSHILF | TOTAL | BUSLOLF | BUSMEDLF | BUSHILF
AEPC | BUSLOLF | 88.5% | 9.9% | 1.6% |  | 78.9% | 18.89% | 2.216% |  | AEP TEXAS CENTRAL COMPANY | 46202 | 22890 | 4965 | 74057 | 0.62387 | 0.30909 | 0.067043 | 1 | 0.19974 | 0.16673 | 0.16142
| BUSMEDLF | 42.4% | 44.7% | 12.9% |  | 14.29% | 62.32% | 23.39%
| BUSHILF | 4.2% | 17.2% | 78.6% |  | 0.64% | 13.26% | 86.1%
| PERCENT CORRECT |  |  |  | 74.3% |  |  |  | 74.26%
AEPN | BUSLOLF | 88.4% | 9% | 2.6% |  | 80.52% | 16.95% | 2.529% |  | AEP TEXAS NORTH COMPANY | 8899 | 5315 | 1470 | 15684 | 0.56739 | 0.33888 | 0.093726 | 1 | 0.038472 | 0.038714 | 0.047792
| BUSMEDLF | 40.4% | 44.3% | 15.3% |  | 14.47% | 66.08% | 19.45%
| BUSHILF | 5.1% | 15% | 79.9% |  | 0.6972% | 13.78% | 85.52%
| PERCENT CORRECT |  |  |  | 72.66% |  |  |  | 76.09%
CNP | BUSLOLF | 87.4% | 11% | 1.6% |  | 78.37% | 19% | 2.631% |  | CENTERPOINT ENERGY HOUSTON ELECTRIC | 57117 | 40456 | 9458 | 107031 | 0.53365 | 0.37798 | 0.088367 | 1 | 0.24692 | 0.29468 | 0.3075
| BUSMEDLF | 36.3% | 49.6% | 14.1% |  | 15.52% | 63.78% | 20.7%
| BUSHILF | 6% | 22.1% | 71.9% |  | 1.245% | 17.66% | 81.1%
| PERCENT CORRECT |  |  |  | 71.74% |  |  |  | 73.1%
NUE | BUSLOLF | 98.8% | 1.2% | 0% |  | 97.14% | 2.855% | 0% |  | NUECES ELECTRIC COOP INC PILOT TDSP | 6 | 5 | 2 | 13 | 0.46154 | 0.38462 | 0.15385 | 1 | 2.5939e-05 | 3.6419e-05 | 6.5024e-05
| BUSMEDLF | 22.6% | 71.8% | 5.6% |  | 20.17% | 77.51% | 2.323%
| BUSHILF | 0% | 10.7% | 89.3% |  | 0% | 8.857% | 91.14%
| PERCENT CORRECT |  |  |  | 86.95% |  |  |  | 88.67%
SHRY | BUSLOLF | 57.8% | 25.8% | 16.4% |  | 59.63% | 30.23% | 10.14% |  | SHARYLAND UTILITIES LP (TDSP) | 56 | 101 | 15 | 172 | 0.32558 | 0.58721 | 0.087209 | 1 | 0.0002421 | 0.00073567 | 0.00048768
| BUSMEDLF | 35% | 32.4% | 32.6% |  | 15.98% | 37.96% | 46.05%
| BUSHILF | 8.8% | 9.8% | 81.4% |  | 1.998% | 4.044% | 93.96%
| PERCENT CORRECT |  |  |  | 44.94% |  |  |  | 49.9%
TED | BUSLOLF | 90.2% | 9% | 0.8% |  | 81.3% | 17.29% | 1.408% |  | TXU ELECTRIC DELIVERY (TDSP) | 107534 | 62539 | 13489 | 183562 | 0.58582 | 0.3407 | 0.073485 | 1 | 0.46488 | 0.45552 | 0.43855
| BUSMEDLF | 36.5% | 52.3% | 11.2% |  | 13.33% | 67.29% | 19.37%
| BUSHILF | 3.7% | 20.4% | 75.9% |  | 0.5965% | 13.35% | 86.05%
| PERCENT CORRECT |  |  |  | 76.24% |  |  |  | 76.88%
TNMP | BUSLOLF | 89.6% | 8.9% | 1.5% |  | 80.04% | 18.16% | 1.802% |  | TEXAS-NEW MEXICO POWER CO (TDSP) | 11500 | 5984 | 1359 | 18843 | 0.61031 | 0.31757 | 0.072122 | 1 | 0.049716 | 0.043587 | 0.044184
| BUSMEDLF | 39.5% | 45.2% | 15.3% |  | 15.05% | 60.44% | 24.51%
| BUSHILF | 5.5% | 19.8% | 74.7% |  | 0.8172% | 12.55% | 86.64%
| PERCENT CORRECT |  |  |  | 74.43% |  |  |  | 74.29%
TOTAL | BUSLOLF | 89.06% | 0% | 0% |  | 80% | 0% | 0% |  | Grand Total | 231314 | 137290 | 30758 | 399362 | 0.57921 | 0.34377 | 0.077018 | 1 | 1 | 1 | 1
| BUSMEDLF | 37.7% | 49.6% | 12.69% |  | 14.26% | 65.06% | 20.68%
| BUSHILF | 4.637% | 20.12% | 75.25% |  | 0.8182% | 14.64% | 84.54%
| PERCENT CORRECT |  |  |  | 74.43% |  |  |  | 75.21%
Note: table is 2005 Annual Validation Samples

## esiids w miss-profiled reads
PERCENT OF ESIIDs WITH "MISS-PROFILED" READS
NUMBER OF "MISS-PROFILED" READS
[13 empty] | ROW PERCENTS |  |  |  | COLUMN PERCENTS
TDSP | ASSIGNED PROFILE TYPE | 0 | 1 | 2 - 3 | 4 - 5 | 6 - 10 | >10
[9 empty] | BUSLOLF | BUSMEDLF | BUSHILF | TOTAL | BUSLOLF | BUSMEDLF | BUSHILF | TOTAL | BUSLOLF | BUSMEDLF | BUSHILF
AEPC | BUSLOLF | 58.53% | 11.02% | 11.46% | 7.675% | 9.52% | 1.795% | AEP TEXAS CENTRAL COMPANY | 46202 | 22890 | 4965 | 74057 | 0.62387 | 0.30909 | 0.067043 | 1 | 0.19974 | 0.16673 | 0.16142
| BUSMEDLF | 5.269% | 6.025% | 13.84% | 15.23% | 32.89% | 26.74%
| BUSHILF | 28.24% | 16.11% | 19.74% | 13.81% | 17.8% | 4.297%
| TOTAL | 40.04% | 9.818% | 12.75% | 10.42% | 17.3% | 9.674%
AEPN | BUSLOLF | 60.69% | 10.37% | 10.66% | 7.181% | 8.07% | 3.039% | AEP TEXAS NORTH COMPANY | 8899 | 5315 | 1470 | 15684 | 0.56739 | 0.33888 | 0.093726 | 1 | 0.038472 | 0.038714 | 0.047792
| BUSMEDLF | 6.35% | 8.142% | 15.79% | 13.8% | 30.23% | 25.69%
| BUSHILF | 30.97% | 15.18% | 19.26% | 14.23% | 16.68% | 3.676%
| TOTAL | 39.49% | 10.06% | 13.21% | 10.08% | 16.38% | 10.77%
CNP | BUSLOLF | 54.21% | 12.45% | 11.67% | 8.339% | 11.42% | 1.914% | CENTERPOINT ENERGY HOUSTON ELECTRIC | 57117 | 40456 | 9458 | 107031 | 0.53365 | 0.37798 | 0.088367 | 1 | 0.24692 | 0.29468 | 0.3075
| BUSMEDLF | 5.478% | 7.212% | 14.48% | 15.32% | 34.1% | 23.42%
| BUSHILF | 25.4% | 11.22% | 15.74% | 14.18% | 24.35% | 9.116%
| TOTAL | 33.24% | 10.36% | 13.09% | 11.49% | 21.13% | 10.68%
NUE | BUSLOLF | 83.33% | 16.67% | 0% | 0% | 0% | 0.06753% | NUECES ELECTRIC COOP INC PILOT TDSP | 6 | 5 | 2 | 13 | 0.46154 | 0.38462 | 0.15385 | 1 | 2.5939e-05 | 3.6419e-05 | 6.5024e-05
| BUSMEDLF | 20% | 0% | 0% | 60% | 20% | 0.1018%
| BUSHILF | 0% | 50% | 50% | 0% | 0% | 0.1361%
| TOTAL | 46.15% | 15.38% | 7.692% | 23.08% | 7.692% | 0.09126%
SHRY | BUSLOLF | 10.34% | 20.69% | 13.79% | 5.172% | 24.14% | 25.86% | SHARYLAND UTILITIES LP (TDSP) | 56 | 101 | 15 | 172 | 0.32558 | 0.58721 | 0.087209 | 1 | 0.0002421 | 0.00073567 | 0.00048768
| BUSMEDLF | 5.376% | 7.527% | 13.98% | 18.28% | 30.11% | 24.73%
| BUSHILF | 21.43% | 42.86% | 7.143% | 14.29% | 7.143% | 7.143%
| TOTAL | 8.394% | 14.89% | 13.32% | 13.66% | 26.16% | 23.57%
TED | BUSLOLF | 62.18% | 10.21% | 10.86% | 8.179% | 7.364% | 1.21% | TXU ELECTRIC DELIVERY (TDSP) | 107534 | 62539 | 13489 | 183562 | 0.58582 | 0.3407 | 0.073485 | 1 | 0.46488 | 0.45552 | 0.43855
| BUSMEDLF | 8.364% | 8.386% | 15.11% | 15.84% | 31.13% | 21.18%
| BUSHILF | 27.8% | 13.78% | 17.75% | 13.35% | 21.53% | 5.789%
| TOTAL | 41.32% | 9.851% | 12.81% | 11.17% | 16.5% | 8.349%
TNMP | BUSLOLF | 61.87% | 10.92% | 9.89% | 7.198% | 8.344% | 1.78% | TEXAS-NEW MEXICO POWER CO (TDSP) | 11500 | 5984 | 1359 | 18843 | 0.61031 | 0.31757 | 0.072122 | 1 | 0.049716 | 0.043587 | 0.044184
| BUSMEDLF | 4.794% | 5.941% | 13.35% | 14.43% | 33.54% | 27.94%
| BUSHILF | 24.41% | 13.13% | 20.87% | 14.68% | 20.58% | 6.342%
| TOTAL | 41.04% | 9.5% | 11.78% | 10.03% | 17.23% | 10.42%
TOTAL | BUSLOLF | 59.4% | 10.97% | 11.13% | 8.029% | 8.875% | 1.605% | Grand Total | 231314 | 137290 | 30758 | 399362 | 0.57921 | 0.34377 | 0.077018 | 1 | 1 | 1 | 1 | BUSHILF | TOTAL
| BUSMEDLF | 6.762% | 7.529% | 14.66% | 15.45% | 32.37% | 23.24%
| BUSHILF | 27.13% | 13.42% | 17.66% | 13.78% | 21.51% | 6.495%
| TOTAL | 38.82% | 9.976% | 12.84% | 11.02% | 17.92% | 9.418%
Note: table is 2005 Annual Validation Samples