PRS Recommendation Report

	PRR Number
	600
	PRR Title
	Align BES Bids with Resource Plan Capability and Resource Schedule

	Timeline

(Normal or Urgent)
	Normal
	Recommended Action
	Approve

	Protocol Section(s) Requiring Revision (include Section No. and Title)
	6.5.2,
Balancing Energy Service

	Proposed Effective Date
	October 1, 2005

	Priority and Rank Assigned
	N/A

	Revision Description
	This documents the current ERCOT practice of limiting BES bids by the difference in Capacity in the Resource Plan and resource obligations and proposes language that is responsive to Potomac Economics recommendation number 8.  Implement an optional capability for QSEs to automatically adjust their hourly Balancing Energy offers for the changes in their 15-minute schedules.  This would help ensure that the participant’s portfolio energy offer is consistent with its energy schedules when the energy schedule is changing each interval

	Overall Market Benefit
	Not known

	Overall Market Impact
	None

	Consumer Impact
	None

	Credit Impacts:  Has the Credit Workgroup reviewed the PRR?  If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact)
	

	Procedural History
	· PRR 600 was posted on 5/4/05.
· ERCOT posted comments on 6/16/05.

· On 6/23/05, PRS considered this PRR.

	PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained)
	PRS recommend approval of Option 1 in PRR600 as amended by ERCOT comments.  PRS passed the motion with three opposing votes from the Independent Power Marketer, Independent Generator and the IOU segments; there were two abstentions from the IOU and Municipal segments.  All market segments were present.

	Summary of PRS discussion
	ERCOT clarified that the intent of ERCOT staff’s comments was to explain its interpretation of the Potomac recommendations and incorporate this interpretation into Option 2.  ERCOT staff does not necessarily support the recommendation.  Participants discussed whether there would be more use of the feature if Option 2 were adopted.  ERCOT responded that the intent of the recommendation is to get more capacity into the balancing energy market.  Participants also discussed the timeline for implementing Option 2 (6-9 months).


	ERCOT/Market Segment Impacts and Benefits


Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.  
	
	Impact
	Benefit

	
	Business
	Computer Systems
	

	ERCOT
	None
	The first option is a description of current practice and will not have an impact.  The second option would result in ERCOT modifying its market clearing engine as a result of this PRR.
	Not known.

	MARKET SEGMENT                      
	
	
	

	Consumer
	None
	None
	None

	LSE:
General, Including NOIE
	None
	None
	None

	LSE:
CR & REP
	None
	None
	None

	QSE
	None for existing system.  Implementation of PE recommendation will require changes of business practices to account for bid limits coming from the bottom of the stack
	Possibly none
	More BES up offers

	Resource
	Same as for QSE
	Same as for QSE
	Same as for QSE

	TDSP
	None
	None
	None


	Original Sponsor

	Name
	Larry Gurley

	Company
	Tenaska

	Segment
	On behalf of the QSEMWG


	Comments Received

	Comment Author
	Comment Description

	ERCOT 061605
	Clarification that Option 2 represents ERCOT’s interpretation of Potomac’s recommendation, not an endorsement.


	Proposed Protocol Language Revision


6.5.2
Balancing Energy Service

The Balancing Energy Service bids shall consist of Balancing Energy Service Up, Balancing Energy Service Down, and Balancing Up Load bids.  All Balancing Energy Service provider bids must be entered by the close of the Adjustment Period for the effective Operating Hour and shall become an Obligation at the close of the Adjustment Period.  However, Balancing Energy Service provider bids may be withdrawn at any time prior to the close of the Adjustment Period.

Balancing Energy Service bids shall not exceed $1,000 per MWh for all Resources.

	[PRR414:  Upon implementation of required system changes, the following sentence will be added above to 6.5.2, Balancing Energy Service:]

Any Balancing Energy Service bids in excess of $1,000 per MWh will be rejected by ERCOT.


(1)
Balancing Energy Service bids must specify Congestion Zone, the type of bid, either a Resource or a BUL used to deploy the service, a ramp rate, and service time period.

(a)
For Balancing Energy Service Up and Balancing Energy Service down, the bid curve consists of monotonically increasing ordered pairs of dollars per megawatt hour and cumulative megawatts ($/MWh, MW).

(b)
For Balancing Up Load, the bids consist of blocks in dollars per megawatt hour and megawatts ($/MWh, MW).  If the full block cannot be deployed the bid will be bypassed.

(2)
QSEs shall provide Balancing Energy Down Service bids prior to the close of the Adjustment Period equal to or greater than the requirement according to the amounts set forth for the QSE in Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves.

(3)
ERCOT shall order all bids received for Balancing Energy Service Up and Balancing Up Load together from lowest bid price to highest bid price.  This combination shall be the Balancing Energy Service Up Bid Stack.  ERCOT will determine the total amount of energy bid in the stack available in sixty (60) minutes.

(4)
ERCOT will determine the required amount of Balancing Energy Service such that Regulation Service Up energy and Regulation Service Down energy is provided in each Settlement Interval.

(5)
ERCOT will plan to deploy Balancing Energy Service in each Settlement Interval in a manner that will minimize total net energy from Regulation Service.

(6)
The Balancing Energy Service deployment will be in megawatts.  The Balancing Energy Obligation shall be the power requested integrated over the interval considering ramping specifications in the QSE’s bid.

(7)
Balancing Energy Service may only be deployed in the Operating Period.  ERCOT’s selection of energy from Ancillary Service Resources for deployment shall be based on the price Merit Order of bids received and bid ramp rate and not on the expected MCPE.  The ERCOT System Operator making Balancing Energy Service decisions shall not have access to the individual Balancing Energy Service bid prices or the expected MCPE.

(8)
If the Balancing Energy Service Up Bid Stack does not overlap with the Balancing Energy Service Down Bid Stack, and ERCOT is using Balancing Energy Service Up and needs a lesser amount of Balancing Energy, ERCOT must first recall any Balancing Energy Service Up prior to deploying any Balancing Energy Service Down, unless resolving Local Congestion.

(9)
If the Balancing Energy Up bid prices are lower than Balancing Energy Down bid prices, also known as overlap, and deployment required of Balancing Energy Service would result in an MCPE within the overlap then, the Balancing Energy Up and Balancing Energy Down or a portion of each are deployed, unless resolving Local Congestion.

(10)
If ERCOT is using Balancing Energy Service Down and needs a greater amount of Balancing Energy, ERCOT must first recall any Balancing Energy Service Down prior to deploying any Balancing Energy Service Up, subject to this subsection.

(11)
If ERCOT is using Balancing Energy Service Up and needs a lesser amount of Balancing Energy, ERCOT must first recall any Balancing Energy Service Up prior to deploying any Balancing Energy Service Down, subject to this subsection.

(12)
Balancing Energy Service Up and Down shall not be deployed in the same Settlement Interval in the same Congestion Zone, unless clearing an overlap in the Balancing Energy Service Up and Balancing Energy Down bid prices, or solving Local Congestion.

(13)
ERCOT shall provide ten (10) minutes notice to the QSEs providing Balancing Energy Service Up or Balancing Energy Service Down to change deployment via the Messaging System.

(14)
ERCOT shall provide Notice electronically via the Messaging System to each QSE with the number of megawatts expected to be delivered as a result of Balancing Energy Service Dispatch Instructions.  The Messaging System will identify requests for Balancing Up Load.

(15)
Loads acting as a Resource and providing Balancing Energy Service must be capable of responding to ERCOT Dispatch Instructions in a similar manner to Generation Resources.  BUL is not considered to be a Load acting as a Resource.

(16)
The deployment of power shall be constrained by the bidders’ specified ramp rate except during EECP Operations.

(17)
With the exception of Balancing Up Load and Load acting as Resources providing Balancing Energy Service Up, QSEs are expected to comply with Balancing Energy Service Dispatch Instructions by ramping at a constant ramp rate, as calculated in 6.5.2(18), during a fixed ramp period starting five (5) minutes prior to the start of the target service interval and ending five (5) minutes after the start of the target service interval.

(18)
With the exception of Balancing Up Load and Load acting as Resources providing Balancing Energy Service Up, Balancing Energy Service deployment instructions, inclusive of recall instructions, by ERCOT to any QSE are constrained by the amount of energy that can be deployed by the QSE within the ten (10) minute ramp period at the ramp rates that are communicated to ERCOT in the QSE’s bid.  Expressed in MW/Min, the ramp rates serve as the basis for calculating the maximum change in the amount of energy that can be deployed by the QSE from one fifteen (15) minute Settlement Interval to the next.  In calculating these energy amounts, ERCOT will calculate the upper and lower limits of the Balancing Energy Service deployment instruction of the target Settlement Interval as follows:

	Direction of Deployment in Prior Settlement Interval
	Limits to P1

	P0 > 0
	P0 + 10 x RRU

	P0 > 0
	P0 – Min ( P0 / RRU, 10 ) x RRU

− [ 10 – Min ( P0 / RRU, 10 ) ] x RRD

 

	P0 < 0
	P0 + Min ( -P0 / RRD, 10 ) x RRD

+ [ 10 – Min ( -P0 / RRD, 10 ) ] x RRU

	P0 < 0
	P0 – 10 x RRD


Where:

P0
MW amount of Balancing Energy Service deployed by ERCOT in the previous Settlement Interval.

P1
MW amount of Balancing Energy Service deployed by ERCOT in the target Settlement Interval.

RRU 
bid ramp rate (always positive) in MW/min associated with the QSE’s Balancing Up bid for the target interval.  If RRU is not available for the target interval, ERCOT will use the most recent value of the QSE’s RRU.

RRD 
bid ramp rate (always positive) in MW/min associated with the QSE’s Balancing Down bid for the target interval.  If RRD is not available for the target interval, ERCOT will use the most recent value of the QSE’s RRD.

P1 > P0
indicates a deployment of more energy in the up direction and/or less energy in the down direction from the previous Settlement Interval to the target Settlement Interval.

P1 < P0
indicates a deployment of less energy in the up direction and/or more energy in the down direction from the previous Settlement Interval to the target Settlement Interval.

ERCOT will honor the Limits to P1, as calculated above, in determining P1.

ERCOT will calculate the constant ramp rate for the P1 deployment as [P1-P0]/10.

For settlement and instructed deviation purposes, the P1 instruction along with the constant ramp rate will be used in determining the energy deployed during the ramp period and corresponding previous and target Settlement Intervals.

(19)
The QSE’s Instructed Deviation will include the expected energy calculated using the constant ramp rate, as calculated in Section 6.5.2, Balancing Energy Service, item (18), during the ten (10) minute ramp period when complying with an ERCOT Balancing Energy Service Dispatch Instruction.

(20)
Loads acting as Resources qualified to provide Regulation, Responsive Reserve, Non-Spinning Reserve, or Replacement Reserve Services may also be used by ERCOT to provide Balancing Energy under the OOME instructions and pricing structure.  ERCOT shall not use Loads qualified to provide only Balancing Up Load Service under the OOME instructions and pricing structure.

(21)
The minimum number of megawatts of Balancing Energy Service that may be offered to ERCOT is one (1) MW.

(22)
In the event that there is no Zonal Congestion and all available Balancing Energy Service Up bids are deployed for an interval, ERCOT shall adjust the MCPE as described in Section 6.9.5.1, Balancing Energy Clearing Price, item (2).

(23)
Should the Bid Stack for Balancing Energy Down Service be exhausted, ERCOT may select units to OOME Off-line.

[Option 1 - Current Practice:]
(24)
ERCOT shall automatically limit each QSE’s zonal Balancing Energy Service Up bids by the sum of the High Sustainable Limits from the Resource Plan for the Generation Resources, by zone, less the zonal Schedule for the QSE’s Resources.  Any reduction to the Balancing Energy Service Up bid shall be implemented starting with the highest priced bids.
(25)
ERCOT shall automatically limit each QSE’s zonal Balancing Energy Service Down bids by the zonal Schedule for the QSE’s Resources less the sum of the Low Sustainable Limits from the Resource Plan for the Generation Resources, by zone.  Any reduction to the Balancing Energy Service Down bid shall be to the lowest cost bids.



Should we actually delete this?






600PRR-03 PRS Rec Report 062305
Page 1 of 7

