This form is to be used to submit comments on the proposed Transmission System Vegetation Management Standard.  Comments must be submitted by July 31, 2005.  You may submit the completed form by emailing it to: sarcomm@nerc.com with the words “Vegetation Standard Comments” in the subject line.  If you have questions please contact Mark Ladrow at mark.ladrow@nerc.net  or by telephone at 609-452-8060.

ALL DATA ON THIS FORM WILL BE TRANSFERRED AUTOMATICALLY TO A DATABASE AND IT IS THEREFORE IMPORTANT TO ADHERE TO THE FOLLOWING REQUIREMENTS:

DO:	Do enter text only, with no formatting or styles added.

Do use punctuation and capitalization as needed (except quotations).

Do use more than one form if responses do not fit in the spaces provided.

Do submit any formatted text or markups in a separate WORD file.

DO NOT:	Do not insert tabs or paragraph returns in any data field.

Do not use numbering or bullets in any data field.

Do not use quotation marks in any data field.

Do not submit a response in an unprotected copy of this form.

| Individual Commenter Information (Complete this page for comments from one organization or individual.) |  |  |
| --- | --- | --- |
| Name: |  |  |
| Organization: |  |  |
| Telephone: |  |  |
| Email: |  |  |
| NERC Region |  | Registered Ballot Body Segment |
| ERCOT ECAR FRCC MAAC MAIN MAPP NPCC SERC SPP WECC NA - Not Applicable |  | 1 - Transmission Owners |
|  |  | 2 - RTOs, ISOs, Regional Reliability Councils |
|  |  | 3 - Load-serving Entities |
|  |  | 4 - Transmission-dependent Utilities |
|  |  | 5 - Electric Generators |
|  |  | 6 - Electricity Brokers, Aggregators, and Marketers |
|  |  | 7 - Large Electricity End Users |
|  |  | 8 - Small Electricity End Users |
|  |  | 9 - Federal, State, Provincial Regulatory or other Government Entities |

| Group Comments (Complete this page if comments are from a group.) Group Name: Lead Contact: Contact Organization: Contact Segment: Contact Telephone: Contact Email: |  |  |  |
| --- | --- | --- | --- |
| Additional Member Name | Additional Member Organization | Region* | Segment* |

*If more than one Region or Segment applies, indicate the best fit for the purpose of these comments.  Regional acronyms and segment numbers are shown on prior page.

### Background Information:

This standard is intended to improve the reliability of the electric transmission system by eliminating transmission outages caused by vegetation located on transmission rights-of-way (ROW) and minimizing outages caused by vegetation located adjacent to ROW, maintaining safe clearances between transmission lines and vegetation on and along transmission rights-of-way.  This standard will also provide for uniform reporting of vegetation-related outages to the Regions and to NERC so that Planning Authorities and Reliability Authorities may measure the impact of vegetation-related outages on the reliability of the interconnected electric transmission systems.  Each program is to be designed for the geographical area and specific design configurations of the transmission owner’s system.

The “Transmission System Vegetation Management” SAR was developed by the Vegetation Management Task Force of the NERC Planning Committee’s Transmission Issues Subcommittee and was posted for comment during the period May 20 and July 2, 2004.  The SAR was approved by the SAC on November 12, 2004, to be moved to standard development.  Additionally on November 12, 2004, the SAC approved the draft version of the proposed Vegetation Management Standard to be posted with an “executive summary” of the issues raised by the SAR posting and the resolution to each of these issues as adopted by the Vegetation Management Task Force.  The draft proposed standards were first posted on the proposed standard for 45-day (January 3, 2005 through February 18, 2005).  The subject document is the second posting of the proposed standard for 45-day (June 16, 2005 through July 31, 2005) review and comment.  This version of the posting of the proposed standard has incorporated the industry comments received from the initial posting of the draft standard and has been significantly modified as a result of those comments.  The purpose of this comment form is to judge the level of consensus and to obtain industry reaction to the Proposed Transmission System Vegetation Standard.

The Certification Standard Drafting Team would like to receive industry comments on this group of standards.  Accordingly, we request your comments included on this form, emailed to sarcomm@nerc.com with the subject “Vegetation Standard Comments” by July 31, 2005.

- Requirement 1 of the standard specifies that each transmission owner (TO) prepare a transmission vegetation management program (TVMP) that contains the elements described in R1.1, R1.2, R1.3, R1.4, and R1.5.  Should each TO should be required to prepare a schedule for its ROW inspections based on the unique conditions and circumstances appropriate to the TO as proposed in R1.1?  If not, please explain in the comment area.

Yes

No

Comments:

- Should each TO identify the clearances in its TVMP based on the unique conditions and circumstance appropriate to the TO, as proposed in R1.2?  If not, please explain in the comment area.

Yes

No

Comments:

- Should the TO require that its vegetation-related personnel hold the qualifications defined by the TO in its TVMP, as proposed in R1.3? If not, please explain in the comment area.

Yes

No

Comments:

- Many TO’s expressed concern that due to federal, state, or local regulations, land-owner resistance, or for other reasons, it is difficult to apply their standard ROW clearing procedures in all locations.  Should the TO be required to identify those ROW areas that do not meet the TO’s VM standards, as proposed in R1.4?  If not, please explain in the comment area.

Yes

No

Comments:

- Should each TO be required to document its internal process for communicating threats to its transmission lines, as proposed in R1.5?  If not, please explain in the comment area.

Yes

No

Comments:

- Should each TO be required to implement its plan for VM work, as proposed in R2?  If not, please explain in the comment area.

Yes

No

Comments:

- R3 proposes that the TO report sustained transmission line outages caused by vegetation generally within the control of the TO. (Category 1 and Category 2 outages are caused by vegetation within the ROW, and should be controllable by the TO.  Category 3 outages are less controllable by the TO.)  Should the TO be required to report momentary vegetation-related outages and/or other vegetation-related outages proposed to be excluded by R3.2?  If so, please explain what additional reporting should be required of the TO in the comment area.

Yes

No

Comments:

- Should RRO be required to report the results of its area to NERC, including the information provided by the TO to the RRO, as proposed by R4?

Yes

No

Comments:

- The Standard Drafting Team believes FAC-003-1 is an incremental change from FAC-003-0.  Do you agree the implementation plan proposed with this posting allows sufficient time to implement any changes between FAC-003-0 and FAC-003-1?

Yes

No

Comments:

- Do you have any other comments on these proposed standards?

Comments: