| ERCOT Retail Client Services & Testing |
| --- |
| Event Description: Congestion Management Working Group | Date: 7/27/05 | Completed by: A. Deller |
| Attendees: See list below |
| Summary of Event: |
| Antitrust admonition Goal for the day is to finalize CMWG’s recommendation for CSCs and Congestion Management Zones for 2006. Beth Garza reviewed the 4 scenarios that ERCOT was asked to analyze. The Zorn-Marion, Zorn-Clear Spring potential CSC was discussed. The group present did not believe that this should be included as a CSC for the following reasons. Transmission projects that are expected to relieve congestion in the area are scheduled for completion before mid-year 2006. However, it was acknowledged that congestion during construction may be a issue. Clearspring Auto upgrade Zorn Auto changeout Kendall – Cagnon line Congestion in the area is typically caused by 345kV outages overloading 138kV lines. Having this element as a CSC would likely result in the three combined cycle units being deemed Boundary Generators. The result being their output would be held constant during zonal congestion. The Trinidad CSC was discussed – in the Dallas area the most limiting elements were Watermill – Cedar Hill and Watermill - Tricorner. These have both been fixed. The next most limiting element is expected to be Trinidad – Tricorner/Watermill. There was discussion of the Trinidad RAP. No one present wanted to see this included as a new CSC. A recommendation was made to use the current CSCs and 5 Zones for 2006. There were no objections expressed by market participants in attendance. This recommendation was subject to ERCOT’s additional review of both new Potential CSCs Beth stated that ERCOT will take the issues raised under advisement and study the situation. ERCOT reserves the right to include either as a CSC for WMS consideration, subject to notification to the CMWG first. If nothing changes, CMWG will recommend to WMS that the same CSC and Zones be used for 2006. |
| Action Items / Next Steps: |
| ERCOT will reconsider both new Potential CSCs ERCOT to notify the group if no meeting is necessary on 8/5/05 by Wed 8/3/05 |
| Hot topics or ‘At Risk’ Items: |

Attendees:

Name				Company				Phone

Jerry Ward  			EXTYR				214-316-7036

Beth Garza			ERCOT				512-248-6361

Art Deller			ERCOT				512-248-6505

John Moseley		ERCOT				512-248-6362

Madjid Zehani		Austin Energy			512-322-6377

Dan Jones			CPS					512-477-7601

Ed Svihla			TXU Energy				214-875-8062

Clayton Greer		Constellation				512-921-7013

Brian Gedrich		Reliant				713-497-8084

Eddie Kolodziej		Customized Energy Solutions	972-437-5393

Jeff Holligan			BP					281-366-5946

Shams Siddiqi		LCRA					512-619-3532

Bruce Quinn			Calpine				713-830-8697

Mark Garrett			Direct Energy			713-877-3666

Erin Wasik-Gutierrez  	PUC					512-936-7163

Rafael Lozano		PSEG Texgan I			972-628-2753

Jack Thormahlen		LCRA					512-473-3200 X2635

Phung Nguyen		ERCOT				512-248-3039

Mike Lee			PUCT					512-936-7348

Michael Tartibi		Exelon				610-765-6572

Rob Lane			TXU Energy				214-875-8063

Steven Havemann		Austin Energy			512-322-6456

Brad Belk			LCRA					512-656-3496

Madan Gaudi		FPL Energy				561-694-4133

David Teeter			LCRA TSP				512-356-6082

John Moore			STEC					361-485-6137

Reed Comstock		Strategic Energy			512-441-5014

Adrianne Brandt		PUCT					512-936-7384