| PRR Number | 617 | PRR Title | IDR Optional Removal Threshold – Modification |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement 18.6.7 IDR Optional Removal Threshold |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | This PRR will alleviate conflicting language and provide clarity on the original intent of Sections 18.6.1(2) and 18.6.7 as these sections relate to the process for an optional IDR removal and re-installation. This PRR also makes non-substantive changes to Sections 18.6.1 and 18.6.7. |  |
| Reason for Revision |  | At the April 2005 RMS meeting, an IDR Task Force was created to develop a market process to support PRR479, IDR Optional Removal Threshold, and in the midst of developing that process, if necessary, identify, discuss, and write the appropriate language needed to clarify the original intent of PRR479 and eliminate any conflicts created within the Protocols with the implementation of PRR479. The Task Force met on May 9 and July 6, 2005 and has found conflicting instructions and/or applications between Protocol Sections 18.6.1(2) and 18.6.7. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No Impacts |  |
| Timeline |  |  |  |
| Date Posted |  | 7/28/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Kathy Scott on behalf of the IDR Task Force |
| E-mail Address | Kathy.scott@centerpointenergy.com |
| Company | CenterPoint Energy |
| Company Address | 1111 Louisiana Street – Houston, TX 77002 |
| Phone Number | 713-207-7830 |
| Fax Number | 713-207-9920 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | None |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Rule clarification on removal/re-installation of IDR. |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | Process implementation and training. | None | Rule clarification on removal/re-installation of IDR. |
| QSE | None | None | None |
| Resource | None | None | None |
| TDSP | Process implementation and training. | None | Rule clarification on removal/re-installation of IDR. |

Proposed Protocol Language Revision

18.6.1	Interval Data Recorder (IDR) Installation and Use in Settlement

(1)	IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

a.	A peak demand greater than 1000 kW (or 1000 kVA), or

b.	Service provided at transmission voltage (above 60 kV).

As of October 1, 2005, the IDR Mandatory Installation Threshold shall be a peak demand greater than 700 kW (or 700 kVA) and all meter changes shall be completed by the later of April 30, 2006 or within one hundred and twenty (120) consecutive days of the CR being notified that the IDR Mandatory Installation Threshold has been met, or

(2)	A Competitive Retailer, upon a Customer’s request or with a Customer’s authorization, may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) consecutive months following such installation.

(3)	All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

(4)	For Premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

a.	IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes: or

b.	IDRs previously used specifically for separating NOIE Load from competitive Load shall be exempt from the requirement to use an IDR for Retail Customer settlement purposes, provided that the IDR meter has been removed within one hundred and twenty (120) consecutive days after the NOIE has fully implemented Customer Choice.   IDR meters used for NOIE separation that do not meet the IDR Mandatory Installation Threshold shall not be used for retail Customer settlement purposes.

(5)	For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

(6)	TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

18.6.7	IDR Optional Removal Threshold

The CR, upon a Customer’s request or with a Customer’s authorization, may request, in accordance with PUCT rules and regulations, removal of an IDR at the Customer’s Premise.  However, once the Customer’s demand at the Premise either meets or exceeds the IDR Mandatory Installation Threshold identified in Section 18.6.1 (1), the IDR will no longer qualify for removal.

The IDR Optional Removal Threshold is established as follows:

(1)	for an existing Customer, where the Load at the Premise has never exceeded the IDR Optional Removal Threshold of one hundred and fifty (150) kW (kVA) during the most recent twelve (12) consecutive months unless the existing Customer requested or authorized installation of an IDR pursuant to Section 18.6.1 (2) in which case the existing Customer may not request removal of the IDR for a period of twelve (12) consecutive months following such installation; or

(2)	for a new Customer Move-In, where the request is communicated to the CR within one hundred and twenty (120) consecutive days of the Move-In provided the new Customer’s Demand at the Premise has remained below the IDR Mandatory Installation Threshold between the Move-In date and the date the request is received,  and that meter readings covering at least forty five (45) consecutive days of usage at the Premise have been registered for the new Customer.

Once an IDR has been removed at a Premise by request, an IDR may not be reinstalled at that Premise for a period of twelve (12) consecutive months following such removal, unless a change in Customer(s) has taken place at that Premise during the twelve (12) month period or unless the IDR Mandatory Installation Threshold pursuant to  Section 18.6.1 (1) has been met.   Removal or reinstallation of an IDR is subject to applicable tariff charges.