| SCR Number | 746 | SCR Title | Dynamic Rating Data to TSP Using ICCP Link |
| --- | --- | --- | --- |
| Date |  | July 8, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Manuel Munoz |  |
| E-mail Address |  | Manuel.munoz@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  | 1111 Louisiana, Houston, Tx. 77002 |  |
| Phone Number |  | 713-207-5398 |  |
| Fax Number |  | 713-0207-0499 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive SCR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the SCR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

CenterPoint Energy supports this SCR. Getting dynamic ratings via ICCP will facilitate automating comparisons between what ERCOT and the TDSPs see in terms of Real-Time dynamic line ratings. The current method for making these comparisons (i.e., posting the ratings on the ERCOT portal) requires too much time and is effectively a “work around” to what should be an automatic process.

In view of the dollar savings (estimated by ERCOT to be $ 33 million/yr in reduced OOM – related costs) that the implementation of dynamic ratings has and will continue to produce for the market, automating this feature as soon as possible should be easily justified.