Date:  July 27, 2005

To:  TAC Representatives

From:  Kevin Gresham, PRS Chair

Re: Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR598 - Charge Against OOM Start Up (FKA Extension of Credit Against OOM Start Up).  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no staffing impact upon system implementation; minor coding changes to Lodestar; no impact to ERCOT business functions; no impact to grid operations.  This PRR creates a charge against the Startup Cost if the Market Clearing Price of Energy (MCPE) is greater than Resource Category Generic Minimum Energy Cost for an Off-line Generation Resource that ERCOT has selected to provide Out of Merit Capacity (OOMC) Service.  The charge shall start three hours after the end of the final interval of the OOMC Dispatch Instruction and continue until the earlier of: a) the end of the calendar day; b) the time at which the charge has completely covered the startup payment; or c) the next Resource-specific Dispatch Instruction.  ERCOT posted this PRR on 4/22/05.  On 6/23/05, PRS voted (61.9% in favor, 38.1% opposed) to recommend approval of PRR598; all market segments were present for the vote.    On 7/21/05, PRS reviewed and voted unanimously to accept ERCOT Staff’s suggested revisions to the PRR.  On 7/27/05, PRS unanimously voted to recommend priority of 1.1 and rank 32.3.  ERCOT credit staff and the CWG have reviewed PRR598 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR599 - Notification for Mismatched Inter-QSE Energy Schedules.  Proposed effective date: upon implementation of PRR 548 (Settlement for Mismatched Inter-QSE Energy Schedules).  Budgetary impact less than $100,000; no impact to ERCOT staffing; minor coding changes to Lodestar; change to Settlements business process to provide a record of the mismatch amount to affected QSEs for reconciliation purposes; no impact to grid operations.  This PRR requires that notice be provided to both QSEs involved in a mismatch in the event that ERCOT remedies a mismatch as prescribed PRR548 (Protocol Section 6.9.8, Settlement for Mismatched Inter-QSE Energy Schedules).  This PRR will provide a record of the amount of the mismatch to both parties involved in the mismatch, which assist Market Participants in reconciliation of mismatches.  ERCOT posted this PRR on 5/2/05.  On 6/23/05, PRS unanimously voted to recommend approval of PRR599; all market segments were present for the vote.  On 7/27/05, PRS unanimously voted to recommend a priority of 1.2 and rank 34.4.  ERCOT credit staff and the CWG have reviewed PRR599 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR600 - Align BES Bids with Resource Plan Capability and Resource Schedule. Proposed effective date: October 1, 2005.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR documents the current ERCOT practice of limiting Balancing Energy Service (BES) bids by the difference in Capacity in the Resource Plan and Resource Obligations.  PRR600 is responsive to Potomac Economics Recommendation No. 8, implementation of an optional capability for QSEs to automatically adjust their hourly Balancing Energy offers for the changes in their 15-minute schedules.  Recommendation No. 8 would help ensure that the participant’s portfolio energy offer is consistent with its energy schedules when the energy schedule is changing each interval.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS voted to recommend approval of PRR600 as modified by ERCOT comments and PRS.  There were three opposing votes from the Independent Power Marketer, the Independent Generator and the IOU segments and two abstentions from the IOU and Municipal segments; all market segments were present for the vote.  On 7/21/05, PRS noted that PRR600 has no impact to ERCOT computer systems and that no project priority is necessary.  ERCOT credit staff and the CWG have reviewed PRR600 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR601 - 15 Minute Ramping for BES and Base Power Schedule.  Proposed effective date: upon system implementation.  Budgetary impact $100,000-500,000; no impact to ERCOT staffing; no impact to grid operations. Existing ERCOT resources in Settlements, Market Operations, and System Operations will be used to implement this PRR. This PRR impacts Lodestar, Scheduling, Pricing, and Dispatch (SPD), and Automatic Generation Control (AGC) systems. ERCOT will create a coordinated testing plan to ensure successful deployment across the market..  This PRR increases the ramping period for BES deployment and for Base Power Schedule changes from 10 minutes to 15 minutes.  PRR601 implements Potomac Economics Recommendation No. 9, elimination of the “plateau” during the interval.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS voted to recommend approval of PRR601, as modified by ERCOT comments and PRS, with one abstention from the Independent REP segment; all market segments were present for the vote.  On 7/27/05, PRS unanimously voted to recommend a priority of 1.2 and rank 79.5.  ERCOT credit staff and the CWG have reviewed PRR601 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR603 - Defaulted QSE Settlement for Ancillary Services Procured During an Adjustment Period Ancillary Service Market.  Proposed effective date: October 1, 2005.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR clarifies settlement costs for defaulting QSE in a subsequent A/S market by removing a duplicate sentence in Section 6.6.3.2 of the current Protocols, removing Section 6.9.1.5(2) because such subsection is unnecessary in light of Section 6.9.1.5(1) and modifying Section 6.9.1.5 (3) to remove other unnecessary language.  ERCOT posted this PRR on 5/23/05.  On 6/23/05, PRS unanimously voted to recommend approval of PRR603 as submitted; all market segments were present for the vote.  On 7/21/05, PRS noted that PRR603 has no impact to ERCOT computer systems and that no project priority is necessary.  ERCOT credit staff and the CWG have reviewed PRR603 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR604 – Replacement Reserve Service Bid Cap.  Proposed effective date: October 1, 2005.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR provides explicit language to state that bids submitted for Replacement Reserve Service (RPRS) shall not exceed $1,000.  ERCOT posted this PRR on 5/25/05.  On 6/23/05, PRS unanimously voted to recommend approval of PRR604 as amended by PRS; all market segments were present for the vote.  On 7/21/05, PRS noted that PRR604 has no impact to ERCOT computer systems and that no project priority is necessary.  ERCOT credit staff and the CWG have reviewed PRR604 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR614 - Balancing Bids for Replacement Capacity – URGENT.  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no impact to ERCOT Staffing; minor change to the bid point verification procedure in the market database to confirm that awarded Replacement Reserve Service megawatts that are bid to the Balancing Energy market are within the unit sustainable limits; no impact to ERCOT business functions; no impact to grid operations.  This PRR requires a QSE for a unit awarded RPRS to bid an amount of MW into the Balancing Energy market that conforms to the difference between the high and low limits of the unit.   ERCOT posted this PRR on 6/30/05.  PRS granted urgent status to PRR614 through an email vote on 7/5/05.  On 7/21/05, PRS voted to recommend approval of the PRR as amended by PRS and comments submitted by Tenaska and ERCOT Staff.  There was one abstention from the Consumer segment; no REPs were present for the vote.  On 7/27/05, PRS unanimously voted to recommend a priority of 1.1 and rank 32.6.  ERCOT credit staff and the CWG have reviewed PRR614 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

---------------------------------------------------------------------------------------------------------------------

# Status of Pending PRRs (Information Purposes Only):

The following PRRs are pending and the current status is explained below:

Pending Input from Other Subcommittees

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to a WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR will be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUC until more progress is made by the stakeholders at WMS and PRS concerning Market Solution.

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Muni and Coop (two) segments.  All segments were present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough e-mail votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the PDC review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR606 - User Security Administrators and Digital Certificates.  ERCOT posted this PRR on 5/27/05.  On 6/1/05, PRS did not approve the submitter’s request for urgency (via email vote).  The submitter requested reconsideration of urgent status during the 6/23/05 PRS meeting.  There was no support for the motion.  After discussion of the PRR, PRS voted unanimously to refer the PRR to the Texas Data Transport Working Group to host a workshop to develop comments and submit them for consideration by PRS no later than 7/14/05.  On 7/21/05, PRS discussed comments submitted by TDTWG, ERCOT Staff, CenterPoint Energy, and Brazos, then voted to refer the PRR back to TDTWG for further consideration.

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- Referred by PRS

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR611 - Reporting of Operation Reserve Capability Under Severe Gas Curtailments.  ERCOT posted this PRR on 6/14/05.  On 6/16/05, PRS did not approve the submitter’s request for urgency via email vote.  The submitter requested reconsideration of urgent status during the 6/23/05 PRS meeting.  PRS did not approve the motion to reconsider; therefore, the PRR is on a normal timeline.  On 7/21/05, PRS unanimously voted to refer PRR611 to ROS to harmonize the PRR with OGRR169, Reporting of Reserve Capability Under Severe Gas Curtailments; all segments were present for the vote.

- PRR613 - Replacement Reserve Under Scheduled Capacity Delineation.  ERCOT posted this PRR on 6/27/05.  On 7/21/05, PRS unanimously voted to refer PRR613 to a PRS task force; all segments were present for the vote.

PRS Action Taken, ERCOT Conducting Impact Analysis for August PRS Meeting

- PRR567 - Block Bidding of Ancillary Services.  ERCOT posted this PRR on 1/19/05.  PRS reviewed the PRR during its February meeting.  The submitter requested deferral until the March PRS meeting.  PRS discussed additional information submitted by the sponsor and voted to refer PRR567 to a PRS task force for further development.  On 5/2/05, PRS discussed comments submitted by the task force and the submitter agreed to call another meeting to address ERCOT staff’s questions and other outstanding issues.  On 5/19/05, PRS considered comments submitted by the task force and decided to defer action to its June meeting.  On 6/23/05, PRS voted (54.3% in favor, 45.7% opposed) to recommend approval of PRR567.  On 7/21/05, PRS unanimously voted to defer consideration of the Impact Analysis for PRR567 until the August meeting; all segments were present for the vote.

- PRR602 - Ancillary Service Obligation for DC Tie Exports.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS did not approve a motion to recommend approval.  After additional discussion, PRS decided to table the PRR pending additional information from ERCOT staff.  On 7/21/05, PRS voted to recommend approval of PRR602 as amended by comments submitted by ERCOT Staff and PRS.  There were two abstentions from the Independent REP segment and the Independent Power marketer segments; all segments were present for the vote.

- PRR612 - Ancillary Service Procurement During the Adjustment Period.  ERCOT posted this PRR on 6/17/05.  On 7/21/05, PRS unanimously voted to recommend approval of PRR612 as amended by comments submitted by ERCOT Staff.  All segments were present for the vote.

Rejected by PRS

- PRR609 - Smooth 15-minute Resource Schedules.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to reject this.  There were three abstentions from the Consumer, Independent REP and Municipal segments.

- PRR610 - Reduction of OOME DN Payments.  ERCOT posted this PRR on 6/10/05.  On 7/21/05, PRS voted to reject this PRR; all segments were present for the vote.  There were five votes in opposition Independent Power Marketer, Independent REP, Consumer (2), and Municipal segments; and three abstentions from the Independent REP, Independent Generator and IOU segments.

Items for Review & Initial Action at August 24 PRS Meeting

- PRR615 - Direct Load Control Programs.  ERCOT posted this PRR on 7/7/05.  It is on a normal timeline.

- PRR616 – Interim Solution for the Direct Assignment of Replacement Costs for System-wide capacity Insufficiency.  ERCOT posted this PRR on 7/14/05.  PRS granted urgent status to PRR616 through email vote on 7/15/05.  On 7/21/05, PRS unanimously voted to defer action until the August meeting.

Sponsor Requested Deferral of Consideration

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472.

- PRR543 – Schedules and Emergency Assistance Over CFE-ERCOT DC Ties.  ERCOT posted this PRR on 9/14/04.  PRS discussed PRR543 at its October meeting and tabled it pending further discussions with Commission Federal de Electricidad (CFE) and final development.  The ERCOT CWG has reviewed PRR 543 and notes that credit risk exists to the extent energy flows to CFE from the ERCOT System as a result of the proposed Agreement.  See CWG comments dated 10/19/04 for details.