## Slide 1: NERC Transmission System Vegetation Management Standard ERCOT TAC Update
Mike Boone – CenterPoint Energy
John Schechter – AEP
August 4, 2005
Austin, TX

## Slide 2: Vegetation Management Standard
Purpose
Review Elements of NERC’s Draft Vegetation Management Standard
Answer Questions and Address Concerns

## Slide 3: Vegetation Management Standard
History
August 14, 2003 – Northeast Blackout
March, 2004 – FERC’s Utility Vegetation Management Report
May, 2004 – Standard Authorization Request Posted for Comments
July, 2004 – Standard Drafting Team Selected

## Slide 4: Vegetation Management Standard
History, cont’d.
January/February, 2005 – Draft Standard (Version 1) Posted for Comments
February, 2005 – Version 0 VM Standard Adopted (and still in effect)
June/July, 2005 – Revised Draft Standard (Version 1) Posted for Comments
July 31, 2005 – Comment Period Closed

## Slide 5: Vegetation Management Standard
Elements of Draft Standard
Applicability
Vegetation Management Program
  Inspections
  Clearance Distance Requirements
  Personnel Qualifications
  Non-Compliant Areas
  Immediate Threats and Action

## Slide 6: Vegetation Management Standard
Elements of Draft Standard
Annual Work Plan
Outage Reporting
Measures and Compliance
  Self Certification
  Periodic On-site Audit by Compliance Monitor
  Four Levels of Non-Compliance

## Slide 7: Vegetation Management Standard
Significant Changes From Version 0
VM-related Outage Now Results in Non-Compliance
Audit Period Extended from Three to Five Years

## Slide 8: Vegetation Management Standard

## Slide 9: Vegetation Management Standard
Questions?