## Slide 1: Reliability and Operations Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
August 4, 2005

## Slide 2: ROS Summary
1 SCR for Approval
3 OGRRs for Approval
ROS update

## Slide 3: ROS Recommendations

## Slide 4: SCR 744 – Outage Scheduler View Only Access
SCR submitted by Reliant Energy
SCR would add view only access to authority options for the User Security Administrator (USA).
Ability to provide Outage Schedule information to a larger group of users.
Benefit: USA will have the ability to assign several types of Outage Scheduler access roles.

## Slide 5: SCR 744 – Outage Scheduler View Only Access
ROS recommended approval unanimously
All market segments were present
Effective: Upon System Implementation
Priority and Rank: 1.1 priority, 33 rank
Approved SCR would be included in the planned Digital Certificate Enhancement program.

## Slide 6: SCR 744 – Outage Scheduler View Only Access
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$100K - $500k
Minor configuration changes
Additional administration

## Slide 7: OGRR 163 – State Estimator Observability and Redundancy Requirements
OGRR result of a TAC assignment to ROS
Includes language from TAC approved ERCOT white paper (12-04-04)
Benefit: Formalizes requirements for telemetry requests and the options available to QSEs/TDSPs upon receiving such a request resulting in a more accurate network model.
Amended by ERCOT, TXUED, & OGRTF
ROS recommended approval unanimously
All market segments were present
Effective upon system implementation

## Slide 8: OGRR 163 – State Estimator Observability and Redundancy Requirements
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Adds process for new data
Network Model Accuracy

## Slide 9: OGRR 166 – Double Circuit Contingencies
OGRR submitted by TXU Energy
OGGR allows ERCOT to continue counting double circuits as a single contingency when weather or studies dictate.
Benefit: Improves clarity and accuracy of the Operating Guides
ROS recommended approval unanimously
All market segments were present
Effective September 1, 2005

## Slide 10: OGRR 166 – Double Circuit Contingencies
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 11: OGRR 167 – LaaR Underfrequency Relay (UFR) Interruption Time
OGRR submitted by Reliant Energy
OGRR adds LaaR interruption total time limit of 30 cycles including all relay and breaker interruption
Benefit: Clarification and consistency with language used for UFR trip time setting for firm load.
ROS recommended approval unanimously
All market segments were present
Effective September 1, 2005

## Slide 12: OGRR 167 – LaaR Underfrequency Relay (UFR) Interruption Time
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 13: Recommended TAC Actions
Approval
  SCR 744 – Outage Scheduler View Access
  OGRR 163 – State Estimator Observability and Redundancy Requirements
  OGRR 166 – Double Circuit Contingencies
  OGRR 167 – LaaR Underfrequency Relay Interruption Time

## Slide 14: ROS Update
  PRR 586 – SCE Performance and SCE Cost Reallocation - ROS evaluated aspects of this PRR and made a report to PRS.
  ROS reviewed Transmission Services presentation on Stability Load Monitoring and Model Development project and endorsed/supports this effort. ROS encouraged transmission owners to get involved in the project to improve stability modeling and support reliability studies.
  ROS will review ERCOT’s draft SPS Policy
  ERCOT is drafting a OGRR to expedite communications with TDSP/QSE Backup Centers