| PRR Number | 567 | PRR Title | Block Bidding of Ancillary Services |
| --- | --- | --- | --- |
| Date |  | 2/15/05 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brady Belk |  |
| E-mail Address |  | bbelk@austin.rr.com |  |
| Company |  | LCRA |  |
| Company Address |  | 3700 Lake Austin Blvd |  |
| Phone Number |  | (512) 473-3577 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

LCRA notes ERCOT comments on this issue and does not feel this project is necessary at this time.

If the project is to continue, we recommend the following changes to keep the software costs at a minimum as well as maintain the linear nature of the AS auction engine. If these aren't accepted, then we run the risk of having to buy a new software product and also dealing with the problem of how to set MCPC and what to do with uplifted costs from the AS market.

We also feel that large block sizes (over 100MW) could result in unstable AS pricing and could provide an opportunity for withholding.

Revised Proposed Protocol Language

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

All Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for all Resources.

[PRR414: Upon implementation of required system changes, the following provisions will be added to 4.4.11, Ancillary Services Bid Submittal:] Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.

For Ancillary Service bid, a QSE must provide:

(1)	The market for which the bid is being supplied;

(2)	The period of time for which the bid is submitted;

(3)	A dollars per megawatt price for the capacity bid;

(4)	The quantity of capacity for which the bid price is effective;

(5)	Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

(6)	Expiration time of the bid.

[PRR496: Add item (7) to Section 4.4.11 upon system implementation:] (7) For a Load Acting as a Resource bids for Responsive Reserve Service and Non-Spinning Reserve Service shall have the option to choose the bid to be awarded only as a complete block at the bid quantity. Bids requested in this fashion shall be defined as Block Bids. Block size will be limited to one hundred fifty (150) MWs for both RRS and NSRS.

- For Generation Resources, bids for Regulation Up, Regulation Down, Responsive Reserves and Non-Spinning Reserves shall have the option to choose the bid to be awarded at a minimum capacity and/or a consecutive number of operational hours.  The minimum capacity specified in any single bid may not exceed one hundred (100) MW. The bid for each Ancillary Service must consist of a single bid price from minimum capacity to maximum capacity. The minimum and maximum capacities must be the same for all hours of the bid and must be awarded for the same amount for all consecutive hours of the bid. In the first run of the simultaneous Ancillary Service auction algorithm, ERCOT shall respect the requirement to award the same amount for all consecutive hours of the bid but not the minimum capacity of the bid for all such bids. All bids whose minimum capacity is not awarded in all Ancillary Services for all bid hours must be excluded in the second run of the simultaneous Ancillary Service auction algorithm. The second run of the simultaneous Ancillary Service auction algorithm produces the awarded Ancillary Services quantities and the MCPCs. [Comment: It’s important to keep the minimum capacity to 100 MW or less since this may be used as a means of withholding capacity and manipulating the MCPC of the AS market.]

[PRR342: Revise Section 4.4.11, Ancillary Serviced Bid Submittal, as follows upon system implementation and Notice to the Market.] QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period. Submitted bids remain active for any period until: (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE. [The following text should be added at the end of 4.4.11 after the numbered list.] A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board. A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.