## Slide 1: TAC Potomac Recommendation Monthly Update July 7, 2005
Nieves López
ERCOT Market Rules

## Slide 2: Recommendations Related to Congestion Management
Description | Sponsor | Status
1. Improve the process for designating zones to minimize the effects of the simplifying zonal assumptions. | ERCOT | PRR 589 (CSC and Zone Determination) Category B Urgency Status approved PRS voted to recommend approval on 4/21/05. TAC voted to recommend approval on 6/20/05. Approved by BOD on 6/21/05. Effective 7/1/05.
2. Improve process for evaluating and revising CSC definitions. | CMWG | CMWG reviewed the criteria for evaluating and establishing CSCs on 4/13/05. CMWG suggested improvements have been incorporated into the current versions of PRR587 and PRR 689. Category B

## Slide 3: Recommendations Related to Congestion Management – Cont’d
Description | Sponsor | Status
3. Modify the calculation methodology of the zonal average shift factor to exclude generation whose output is generally fixed (e.g., nuclear units). | ERCOT | PRR 592 (Modify Shift Factor Calculation to Exclude Fixed Output Generators). Category B Urgency Status denied. PRS voted to recommend approval on 5/19/05. CMWG and PRS recommended delaying implementation until the calculations for 2006 annual TCR auction. TAC voted to recommend approval on 6/20/05. Approved by BOD on 6/21/05. Effective 11/1/05.

## Slide 4: Recommendations Related to Congestion Management – Cont’d
Recommendation | Sponsor | Status
4. Provide ERCOT the operational flexibility to temporarily modify the definition of a CSC associated with topology changes. | ERCOT | PRR 587 (Intra-Year Modification of CREs) Category B. Urgency Status approved. PRS voted to recommend approval on 4/21/05. TAC voted to recommend approval 6/2/05. Approved by BOD on 6/21/05. Effective on 7/1/05.

## Slide 5: Recommendations Related to Congestion Management – Cont’d
Description | Sponsor | Status
5. ERCOT should modify its multi-step balancing energy market optimization to recognize the interactions between its local congestion management and zonal balancing energy deployments to minimize the costs of both classes of deployments. | None | Due to complexity and cost, the issue deferred until after the PUCT decision on the nodal market design. Category C

## Slide 6: Recommendations Related to Load Forecast
Recommendation | Sponsor | Status
6. ERCOT examine its load forecasting model to determine whether there are additional factors that could be considered or other changes to their model that would improve its accuracy. | ERCOT | Ongoing and on schedule. ERCOT has completed some items relating to load forecasting. ERCOT will continue to evaluate and make any additional changes. No PRR required for implementation. Category A.
7. Allow QSEs to submit an energy schedule for the end of the next hour that would be used by ERCOT to produce 15-minute schedule quantities by interpolating across the hour. | Tenaska – for QSE PM WG | PRR 609 (Smooth 15-Minute Resource Schedules) Category C. PRR may not represent consensus opinion/support. Scheduled for the PRS consideration on 7/21/05.

## Slide 7: Recommendations Related to Load Forecast - Cont’d
Recommendation | Sponsor | Status
8. Implement an optional capability for QSEs to automatically adjust their hourly balancing energy offers for the changes in their 15-minute schedules. This would help ensure that the participant’s portfolio energy offer is consistent with its energy schedules when the energy schedule is changing each interval. | WMS, through QSE PM WG | PRR 600 (Align BES Bids with Resource Plan Capability and Resource Schedule) Category C PRR may not represent consensus opinion/support. PRR offers two options: (1) codification of current process and (2) language consistent with Potomac proposal. PRS voted to recommend approval of PRR with option 1 on 6/23/05. Scheduled for TAC consideration on 8/4/05.

## Slide 8: Recommendations Related to Load Forecast - Cont’d
Recommendation | Sponsor | Status
9. Eliminating the load and generation plateau in the middle of the interval by changing the modeling approach for load and generation. | WMS | PRR 601 (15 Minute Ramping for BES and Base Power Schedule) Category C. PRR may not represent consensus opinion/support. PRS voted to recommend approval on 6/23/05. Scheduled for TAC consideration on 8/4/05.
10. Require that QSEs submit physically feasible energy schedules. It would be difficult to automatically validate the schedules for feasibility since they can be submitted well before the operating hour. However, it could be monitored and enforced through ex post validation of compliance. | ERCOT | PRR 525 (SCE Performance and Monitoring). Category C Approved by BOD on 4/19/05. Partial implementation effective 5/1/05. Full implementation and enforcement effective upon system implementation.

## Slide 9: Recommendations Related to Load Forecast - Cont’d
Recommendation | Sponsor | Status
11. Implement uninstructed deviation charges that allocate a portion of the regulation costs to the QSEs exhibiting large SCEs in the periods during each hour with the largest regulation needs. In particular, we propose specific changes to PRR 356 that has been pending for more than two years. | PUCT WMO | PRR 586 (SCE Performance and Regulation Cost Re-Allocation). Category B. Urgency Status denied. ERCOT Backcast reviewed at 4/21/05 WMS meeting. PRR again discussed at 4/17/05 WMS meeting. PRS considered the PRR on 5/19/05 and remanded the PRR to ROS. ROS to report resolution to PRS in July.
12. Consider a specific modification of ERCOT’s portfolio ramp rate methodology that would recognize the changes in energy schedules. | None | Due to complexity and cost, the issue deferred until after the PUCT decision on the nodal market design. Category C.

## Slide 10: Recommendations Related to Balancing Energy Market Operations
Recommendation | Sponsor | Status
13. ERCOT modify the limit on the quantity of responsive reserves provided from a single unit to make it less binding on relatively small units. | ROS | OGRR 164 (Responsive Reserve MW Limit). Category B Same as OGRR 161 which was withdrawn by the sponsor. On 5/12/05, ROS voted to recommend rejection of this OGRR. Scheduled for TAC consideration on 7/7/05.
14. ERCOT institute procedures to monitor whether QSEs are meeting their reserve obligations in real time. | ERCOT | PRR 590 (Update Unit Telemetry Requirements). OGRR 165 (Update Unit Telemetry Requirements). Category A. OGRR tabled at OWG pending resolution of PRR 590. PRS voted to recommend approval of PRR 590 on 5/19/05. Scheduled for TAC consideration on 7/7/05.

## Slide 11: In Summary:
Recommendations 5 and 12 delayed pending Commission decision regarding future market design.
Recommendations 1, 2, 3, 4, 6, and 10 completed.
Recommendations 7, 8, 9, 11, 13, and 14 in progress.
Complete report will be posted the week of the PUCT Open Meeting (7/15/05).