## Slide 1
2009 Pre-Nodal
Transmission Improvements Study
TAC Briefing
Bill Bojorquez
September 9, 2005

## Slide 2: Background
ERCOT presentations to PUCT at July 12 Workshop in Project 28500
  “Top Ten List” of previously-reviewed transmission improvements which mitigate significant congestion in 2009, but some remains
PUCT Chairman Hudson requested study in July 28 letter
  Purpose of study is to recommend a list of economic transmission improvements that will facilitate ERCOT’s transition to a nodal electricity market and will mitigate the impact of transmission constraints on the expected market benefits

## Slide 3: Scope of Study
Identify long lead time transmission improvements for 2009-2010 timeframe
  Include improvements needed for reliability or economic reasons
  TSPs and other RPG members to provide potential solutions and ERCOT staff to quantify the benefits of these projects
  Transmission recommendations will be based on currently known generation with sensitivities for:
    Alternative new generation scenarios
    Changes in the fuel forecast

## Slide 4: Schedule
Q&A on scope, process and schedule with TSPs on 8/29
Q&A on scope, process and schedule with RPGs on 9/2
Reliability projects identified by 10/7/05
Economic projects identified by 12/9/05
Final Evaluation of projects by 1/14/06
Recommendation to TAC and Board at Feb. 2006 meetings
This is a Highly Aggressive Schedule