Operating Guides Revision Request


	OGRR Number
	175
	OGRR Title
	Emergency Storm Drill Participation

	Operating Guide Section(s) Requiring Revision (include Section No. and Title)
	1.8.5, ERCOT Severe Weather Drill (new)

	Protocol Section(s) Requiring Revision, if any
	None

	Requested Resolution (Normal or Urgent)
	Urgent status requested for this OGRR as the annual Emergency Storm Drill is scheduled for November 9, 2005.

	Revision Description
	To facilitate good communications between ERCOT, QSE (that provide Ancillary Services), and Transmission Operators, an annual emergency storm drill will be conducted with appropriate emergency scenarios to provide a realistic simulation of emergency conditions to operators. This emergency storm drill will be followed by a critique by all participants to ensure that communication paths worked as expected and operators received proper emergency training

	Reason for Revision
	Incorporate language in Operating Guide Section 1.8, Operator Training, to include ERCOT, QSE (that provide Ancillary Services), and TO participation in an annual emergency storm drill scenario and follow-up critique.

	Timeline

	Date Posted
	9/7/05

	Please see the Master List on the ERCOT website for current timeline information.


	Sponsor

	Name
	Stephen C. Knapp on behalf of the Operations Task Force

	E-mail Address
	Steve.knapp@constellation.com

	Company
	Constellation Energy Commodities Group, Inc.

	Company Address
	111 Market Place, Suite 500, Baltimore, Maryland 21202

	Phone Number
	410-468-3606 or 443-286-6785

	Fax Number
	410-468-3419


	ERCOT/Market Segment Impacts and Benefits


Instructions:  To allow for comprehensive OGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the OGRR.

	
	Impact
	Benefit

	
	Business
	Computer Systems
	

	ERCOT
	
	
	

	MARKET SEGMENT                      
	
	
	

	Consumer
	
	
	

	LSE:
General, Including NOIE
	
	
	

	LSE:
CR & REP
	
	
	

	QSE
	
	
	

	Resource
	
	
	

	TDSP
	
	
	


	Proposed Operating Guide Language Revision


1.8
Operational Training

1.8.5
ERCOT Severe Weather Drill 

ERCOT shall conduct a Severe Weather Drill one time a year.  This drill will be used to test the scheduling and communication functions of the primary and/or back up centers and train operators in emergency procedures.  All Qualified Scheduling Entities that provide Ancillary Services, and Transmission Operators are required to participate in the drill.  ERCOT will appoint an ERCOT Drill Coordinator who, with assistance from the Operations Working Group, will develop and coordinate the annual Severe Weather Drill. The Operations Working Group will review and critique the results of completed Severe Weather Drills to ensure effectiveness and recommend changes as necessary. ERCOT Compliance will verify and report Entity participation to the Reliability and Operations Subcommittee.

1.8.6
Criteria For The Selection Of Operators

To be selected as Operators, candidates should be capable of directing other personnel in their own organization and, at the same time, work harmoniously with the ERCOT System Operators and other Entities’ Operators.  In addition, they must have a high intellectual ability, above average reasoning, mathematical ability, well-developed communication skills and reasonable mechanical aptitude.  To ensure compliance with these criteria, a screening and selection procedure must be considered for prospective Operators.  This procedure should include the following:

a. Evaluation against a detailed job description.

b. Analysis of the candidate's past work record to determine character, reputation, and previous experience.

c. In-depth interview with each candidate.

d. Evaluation of intelligence, logic, mathematical, and communication skills along with psychological fitness.

1.8.7
Training Practices

Each Operating Entity should establish a clear requirement, define and develop a systematic approach in administering the training, and provide the necessary feedback as a measurement of curriculum suitability and trainee progress.  Each Operating Entity should recognize the importance of training and provide sufficient Operator participation through adequate staffing and work-hour scheduling.







175OGRR-01 Emergency Storm Drill Participation 090705.doc
Page 2 of 3
175OGRR-01 Emergency Storm Drill Participation 090705.doc
Page 2 of 3
175OGRR-01 Emergency Storm Drill Participation 090705.doc
Page 2 of 3

