| PRR Number | 620 | PRR Title | Notifying QSEs of their DBES Percentages |
| --- | --- | --- | --- |
| Date |  | September 15, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Matt Mereness |  |
| E-mail Address |  | mmereness@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512.248.3089 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

ERCOT supports this PRR as it will reduce the unnecessary distribution of large amounts of duplicate, static data.  ERCOT’s approach to effectuate this change will be to disable the notification process which promulgates the percentage requirement for Balancing Energy Services Down bids for all zones, for all intervals to all QSEs in large data files.  ERCOT will continue to post the percentage requirement to the MIS every day, and the API query for the percentage requirement will remain active.

When ERCOT changes the percentage requirement, the Control Room Operator, who currently verifies the percentage requirement each day, will send a market notification to all QSEs to inform them that the percentage requirement has been changed.

ERCOT suggests some minor clarifications below.

Revised Proposed Protocol Language

4.4.5	Notification to QSEs of Mandatory Balancing Energy Service Down Bid Percentage Requirements

ERCOT will make available via a programmatic interface and post by 0600 of the Day Aheadthe percentage of mandatory Balancing Energy Service Down bids required by Congestion Zone for each hour of the Operating Day for each QSE.  If ERCOT changes the percentage requirement for any hour for any Congestion Zone from the previous Operating Day, only then will ERCOT notify all QSEs by 0600 of the Day Ahead of the QSE’s percentage requirement for Balancing Energy Service Down bids by Congestion Zone for each hour of the Operating Day.  The percentage of mandatory Balancing Energy Service Down bids required will be the same for all QSEs, but will not apply to energy scheduled by ERCOT from Resources under an RMR Agreement.