# OGRTF 05-17-05 Meeting Notes

Attendance:

Steve Knapp (Chair)	Constellation		QSE			410-468-3606

Wayne Kemper		CenterPoint Energy	TO			713-207-2192

Rick Keetch		RRI			QSE			713-497-2526

David Darnell 		CPS			TO			210-353-2208

Jeff Gilbertson		ERCOT			Market Rules		512-248-6462

Jack Thormahlan		LCRA			QSE			512-473-3200

Mark Henry		ERCOT			Compliance		512-225-7021

Dennis Kunkel		AEP			TO			361-289-4003

Leo Villanueva		ERCOT			Operations		512-248-3135

David Detelich		CPS Energy		QSE			210-353-3037

Charles Bui		LCRA			TO			512-482-6371

Kevin Thundiyil		ERCOT			Compliance		512-275-7414

Jerry Ward		EXTYR						214-316-7036

## NOTE: Action Items are shown in Bold

- Steve Knapp reviewed the Anti-Trust admonition.

- Revision to OGRR 163, (State Estimator Observability and Redundancy Requirements), was discussed by ERCOT/TXU and the comments collected and posted as OGR T/F Comments. Posted for comments – none others received. Forward to OWG.

- OGRR 164 – (Responsive Reserve MW Limit) - Resubmit of withdrawn OGRR 161: If TAC approves, OGRR needs to get PRS to see if it violates Protocols. Hold OGRR 164 until next month. Put on PRS Agenda, and then send it to TAC. (Does it need to go to PRS if it’s not approved?) This is procedurally required (PRS reviews then sends to TAC). This is not a discussion issue for the OGR T/F; this is only a status report for this OGRR. Jeff Gilbertson will review with Market Rules to see what is procedurally correct, PRS-TAC-Board. (This should be rejected based on its merit.)

- OGRR 166 – (Double Circuit Contingencies): Allow a speaker or two to go to OWG. High Outage Consequence – ERCOT says to strike AFFIRMATIVLY in the first bullet, OGRT/F says to leave it – present both positions (ERCOT’s and the OGRR’s author) for discussion at OWG (Extyr Consultant Jerry Ward is the author)

- OGRR 165 – (Update Unit Telemetry Requirements): This OGRR is being discussed before the PRR is actually approved. Monitor the PRR until it gets passed and then take action on the Guides. Hold the OGRR pending PRR approval.

- OGRR 167 – (LaaR Underfrequency Relay Interruption Time): Recommend to send to OWG for approval.

OLD BUSINESS:

- Transmission Operator outages will be discussed at OWG. Sweeney and Willms will attend.

- Storm Drill Training – Steve Knapp working on a plan with John Jonte.

- Leo Villanueva showed the EECP Step 4 Load Shed Table Revision for 2005.  ERCOT will submit an Operations Bulletin for the table to be effective 06-01-05 with the June ERCOT Guide update.

- Change OGRR process so an OGRR requires an impact analysis.  It is a work in progress.  Jeff Gilbertson will submit eventually for discussion.

- Quick Start Test Form – Placeholder in the Operating Guides by Jeff Gilbertson for PRR 588.

OPEN DISCUSSION:

- Administrative Change – would allow administrative changes to OGRR’s that only need to be changed for Protocol Revisions.  Then, references will match Protocols.  Jeff Gilbertson will give it a number and post.  Spreadsheet – update as needed.

- Review Guide 3 as items contained in this guide require.

NEW BUSINESS:

The next meeting will be June 20, 2005 at 10:00 am.  June 21, 2005 at 10:00 am is the special meeting for OGRR154.  Both meetings will be at the ERCOT MetCenter Office.

OGRTF Draft Minutes:

Leo Villanueva, Author