# APPROVED

# OGRTF 06-20-05 Meeting Notes

Attendance:

Steve Knapp (Chair)		Constellation		QSE		410-468-3606

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch			RRI			QSE		713-497-2526

David Darnell 			CPS			TO		210-353-2208

Jeff Gilbertson			ERCOT		Market Rules	512-248-6462

Jack Thormahlan		LCRA			QSE		512-473-3200

Jeff Healy			ERCOT		ISO		512-248-3079

John Dumas			ERCOT 		ISO		512 248  3195

David Detelich		CPS  			QSE		210-353-3037

Kevin Thundiyil		ERCOT		Compliance	512-275-7414

## NOTE: Action Items are shown in Bold

- OGRTF Chair reviewed the Anti-Trust admonition.

- May 17th OGRTF meeting minutes were approved.

- 168 – Administrative Changes for June 2005 Operating Guides: Several PRRs have modified Protocol Sections that are referenced in the Operating Guides. This OGRR updates those references.  Only direct quotes from Protocol language changes have been updated.  This OGRR also updates the Load Shed table in Operating Guide Section 4.5.3.2 as required by Section 4.5.3. Other changes include:

- Changes to reference numbers

- Capitalization of defined terms

- MRA (Must Run Alternative) language

OGRR 168 will be submitted to ROS for approval at the August meeting.  Two recent PRRs that are addressed in this OGRR are still pending Board approval.

- 169 – Reporting of Reserve Capability Under Severe Gas Curtailments:  requires Resources to provide additional data describing their alternative fuel capability during previous and upcoming winter months. OGRR 169 is associated with PRR “Operation Reserve Capability under severe gas curtailments”.  The PRR addresses the requirement to submit the data in Section 12.4.7 “Winter Preparedness Report” and clarifies the confidentiality of the information in Section 1.3.1.1.  The PRR is currently on the normal timeline.  The notice to submit the required information will be sent this year and there was no dissention to the idea of formally requesting compliance of this information submission for future years.  This request will include direction on how much historical data would be required for the first submission of data, allowing for the request form (6.2.7 “Unit Alternative Fuel Capability Data for Winter Preparedness Report”) to cover the previous winter season and the upcoming winter season exclusively.  OGRTF suggested wording and format changes for clarification and posted the comments.  It was also suggested that notes be added to further explain what information ERCOT is requesting for each entry on the form.  OGRTF decided that this effort would have more value if the notes were created after ERCOT has received a set of data to compile to evaluate the information they receive and provide better feedback as to how to respond to the request.

Other Business:

In preparation for the special meeting held on Jun 21st, OGRTF members outlined OGRR 154 “Generator Protection Requirements”.  Items identified for discussion included:

- Source of the original 154 language

- How it was incorporated into the Operating Guides

- How the existing OGR was generated from the original OGR language

- Issues involved

  - Volts/Hertz time delay and intended purpose

  - Where in relation to the GSU the measure should be applied

  - LVRT time delays and settings with relation to regional UVLS settings

OPEN DISCUSSION:

- The question was raised if the first stage of Rev 4 accommodated the process when a unit is dispatched outside of the +/- .05 bandwidth for VSS.

It is my understanding that the necessary changes will be enhancements to system operator displays.  These displays are not currently available but do not require a system revision to put these displays into production. -jh

NEW BUSINESS:

The next meeting is scheduled for July 19th, 10:00 – 16:00 Austin room 161.

OGRTF Minutes:

Jeff Healy, Author