# OGRTF 06-21-05 Meeting Notes

Attendance:

Steve Knapp (Chair)		Constellation		QSE		410-468-3606

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Paul Rocha 			CenterPoint Energy	TO		713-207-2768

Don Sevcik			CenterPoint Energy	TO		713-207-6638

Alberto Benitez 		CenterPoint Energy	TO		713-207-6252

Rick Keetch			RRI			QSE		713-497-2526

David Darnell 			CPS			TO		210-353-2208

Jeff Gilbertson			ERCOT		Market Rules	512-248-6462

Jack Thormahlen		LCRA			QSE		512-473-3200

Jeff Healy			ERCOT		ISO		512-248-3079

John Lessin			FPLE			PGC		561-691-2411

Tim Cooper			FPLE			Resource	972-552-5114

Steve Pearson			Tenaska		REP		903-785-2992 x103

Dan Makelki			AEP			Resource	361-881-5859

Dennis Kunkel		AEP			TO		361-289-4003

Alan Crane 			GPL					972-205-3152

Frank Hoelscher		GPL					940-591-5015

Bruce Quinn			Calpine				713-830-8697

Glenn Hargrave		CPS					210-353-4215

Forrest Arnold 		LCRA			Resource	512-473-3200 x2214

Michael Hering		Bryan			Resource	979-821-5748

Kevin Thundiyil		ERCOT		Compliance	512-275-7414

## NOTE: Action Items are shown in Bold

- OGRTF Chair reviewed the Anti-Trust admonition

- A special session of the OGRTF was held on 6/21.  Invitations were extended to all involved parties with the intention of facilitating the discussion around the many comments submitted on OGR 154 ‘Generator Protection Requirements’, to frame the content of OGR 154, and receive input from involved parties, including PGCs, TDSPS, QSE’s, and SPWG members.  The combined comments of this group are posted on the OGR web page.  Items discussed include:

- History.  Prior to 2000 standards were followed in accordance with NERC planning guide 3C.  The original bullets of the new standard were collected by compliance using the FRCC standards.  These were adopted by ERCOT as interim standards.  When the reactive standard was approved by TAC, the original bullets were removed and placed in the Operating Guides.

- Bullets 1 & 2 refer to steady state operation, bullet 3 refers to generation protection only (V/Hz relay settings) and the 4th bullet refers to dynamic response.

- The aim was to coordinate the standards to ensure generator protection and still have LVRT sufficient to allow UVLS to actuate.

- The challenge to accomplish this is the possible variance of UVLS settings in different locations, and physical capabilities of generators and generator auxiliary equipment.  Two limitations cited by Resources were induction machines and MOV’s, which may not have sufficient torque to operate at voltages outside those identified in the original standard.

- Relation of transmission voltage to low side V will need to be evaluated in some locations.

- Participants of the special OGRTF meeting agreed to amended language to the original OGRR154 and posted them as OGRTF comments.