OGRTF 07/19/05 Meeting Notes

Attendance:

Stephen C. Knapp (Chair)	Constellation	QSE	410-468-3606

Charles Bui	LCRA	TO	512-482-6371

Jack Thormahlen	LCRA	QSE	512-473-3200 X-2635

Stacey Woodard	Austin Energy	QSE	512-322-6192

Leo Villanueva	ERCOT		512-248-3135

Sean Hausman	PSEG	GEN	432-559-8066

Wayne Kemper	CenterPoint Energy	TO	731-207-2192

Jeff Gilbertson	ERCOT		512-248-6462

NOTE:  Action items are shown in bold.

- OGRTF Chair reviewed the Anti-Trust admonition.

- Review notes from June 20th meeting.

  - Leo Villanueva to check on status of PRR 409.

- Jeff Gilbertson will change notes from special June 21st meeting as posted and add an item 3.

- New Posting

  - #170 approved by board last month and in the Guides

  - #171 Quick Status Units

AEN comments – Match test windows to existing schedule for balancing instead of picking a random time in a 7-day period.  Make consistent with PRR.

- PRR 588 related to this OGRR.

- Wait for PRR to go through the approval process.

- Called John Dumas to review his comments/concerns with testing of quick start units and discuss with the group.

  - The 8 hour test window is a concern in that you may do something special for the 8 hour period to meet the quick start requirement.  AEN (Stacey Woodard) says they can do it for 7 days or 8 hours.  This would be a Compliance issue, not a testing issue.

  - Protocols don’t refer to units being on-line for BES AS Test.  PRR 588 information being sent for approval.  Either change Protocol 6.10.3.4 to say on-line generation or send back to TAC for clarification.

- Leave OGRR 171 in comments period and let ERCOT comment on AEN’s comments.  Revisit at next month’s meeting.  May be remanded back to TAC to clarify what language was approved by TAC (not to include Operating Guide language).

  - Summary of 171 – ERCOT comments on why a 7-day window is necessary – put on hold until next month.  See about PRR confusion.

- OGRR 169 – LCRA & AEN provided comments

  - LCRA comments – Exposure to risk for companies ERCOT trying to build scenarios that demonstrates the posture of ERCOT.

Primary interest is whether or not ERCOT is exposed to gas curtailments.  ERCOT information is considered confidential and if subpoenaed, it is here-say and not credible.

Risk Profile – MW’s/Hours on gas; calculations could be made to calculate QSE Heat Rates.

AEN is concerned about Force Majeure preventing gas delivery.  AEN is also concerned with the amount of data required that won’t provide satisfactory information.  AEN wants alternate-based responses.

Okay with a survey on alternate fuel and oil storage, but it’s a usefulness issue.  With the Force Majeure issue, it’s a waste of time; bottom line – if can’t get gas – can’t get it!!!  Use the survey of alternate fuel to say this is where ERCOT is.  If ERCOT had the information – ERCOT would have to determine a load level for developing a plan to request gas analysis.

Constellation interjected, ERCOT doesn’t have a unit commitment database like they do in the east.  It’s not firm; at PJM, a supplementary status report is used based on a snapshot during a cold weather day.

In February, 2003, LCRA went to oil because gas prices went so high and couldn’t get gas because it was too cold.  LCRA knew this 3 days in advance.

Could develop an event form that established what QSE’s are seeing.  Steve Knapp will send data sheet used by the East ISO for review by ERCOT.  Quality/quantity of requested data is hard to commit – but things change so it may not be valid.

OGRR tied to PRR 611 loosely.  611 is very vague and not a concern to folks.  Restructure OGRR until next month.  Steve will send form to the entire group.

- OGRR 154 – Add NERC requirements to OGRR.  Reviewed by PGC’s & TO’s to ensure all concerns were captured and addressed.  The information was based on concerns from the group.  No comments received, send on to OWG to ROS.

NEW BUSINESS

None

OPEN DISCUSSION

Hold on 169 – PJM supplementing Status Report, 171 – does PR need additional bullet.

The next meeting will be held August 16, 2005 at 10:00 am at the ERCOT Met Center Office Room 161.

OGRTF Draft Minutes:

Leo Villanueva, Author