From: owner-ros@lists.ercot.com on behalf of John Moore [jmoore@stec.org]

Sent: Wednesday, September 07, 2005 4:53 PM

To: 1 2004 ROS and others

Subject: SSWG Report for September 15 ROS Meeting

Follow Up Flag: Follow up

Flag Status: Yellow

The SSWG has not met since the last ROS meeting.

The consensus of the SSWG is that ERCOT Planning should determine Qmax values for powerflow cases based on the values used by ERCOT Operations.  The group has been informed by ERCOT that the Qmax values used by operations are gross values, not net values, as required for powerflow cases.  During the case building process for DSB the SSWG and ERCOT will adjust gross values of Qmax to obtain net values for use in the cases (method to be determined).

A joint meeting with the NDSWG on the subject of ERCOT nodal protocols is planned for October.

John Moore

STEC

John Moore

South Texas Electric Cooperative

STEC

P.O. Box 119

FM 447

Nursery, TX  77976

361-485-6137 Direct

361-575-6491 Switchboard

361-485-6129 Fax

www.stec.org