OWG Report to ROS

9-15-05

The OWG met on August 17th, 2005. The following OGRRs are pending at the OGRTF:

1.	169OGRR - Reporting of Reserve Capability Under Severe Gas Curtailments- Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. This OGRR is scheduled to be finalized at the OGRTF meeting on 9-20-05

2.	171OGRR - Testing of Quick Start Units in the Balancing Energy Market- This OGRR establishes the test by which a quick start unit can demonstrate its ability to perform in the BES market, as required by PRR588. The OWG is presenting this OGRR with two language alternatives and requests the ROS to approve the appropriate language and this OGRR171. John Dumas for ERCOT and Stacy Woodward for Austin Energy will present arguments for the two alternative sets of language.

3.	172OGRR- Special Protection System Obligations- The changes permit the sharing of limited TDSP operating information with Generation Entities subject to SPS control as necessary to avoid SPS operations.  The changes also propose differences in the SPS review and approval process between new SPSs that involve Generation Entities or affect a wide area, and other SPSs. The OWG will review this OGRR and make any recommendations at its 9/21/05 meeting for consideration at the 10/13/05 ROS meeting.

4.	OGRR 175 – Emergency Storm Drill Participation (Vote on Urgent Status)* Urgent status requested for this OGRR as the annual Emergency Storm Drill is scheduled for November 9, 2005. This OGRR incorporates language in Operating Guides Section 1.8, Operator Training, to include ERCOT, QSE (that provide Ancillary Services), and TO participation in an annual emergency storm drill scenario and follow-up critique.

- The Black Start Task Force met on August 2nd. PRS had remanded PRR584 back to the BSTF for additional clarification and comments. No additional progress has been made to date. The BSTF chairman has requested additional input from task force members before deciding on further action. The Black Start Task Force will be reviewing the critique sheet used at the Black Start Training Seminar. The extension of Richard Sykes contract as the ERCOT instructor is under review by ERCOT Legal.

- The OTF is in the process of finalizing the Fall Storm Drill scenario. The Fall Storm Drill is schedule for November 9, 2005. This event will drill on all four EECP levels. This drill time will go towards the 40 hour requirement for emergency training for those who actually participate in the drill. The drill script will have actual language that is to be used for the load shedding in the EECP drill. The OTF will meet on September 28th to finalize the script.

- James Hinson discussed events related to frequency control and ancillary services. He stated that the errors are not the same errors being seen each time. Mr. Hinson stated that appropriate training is being done to correct errors as they occur. There are currently 20 out of 54 personnel that have 1 to 1.5 years experience. A NERC audit of ERCOT is scheduled in October, no date announced at this time. Construction on new ERCOT Operations Training Center (OTS) in Taylor begins mid August and the anticipated time for completion is seven weeks.  (OTS will be in old blue building.) Mid 2006 is the anticipated date for OTS to be fully up, running and functional.

- The next OWG meeting will be September 21st at the Met Center.