## Slide 1: VSS – Voltage Support Reporting
Request of ROS member at August Meeting

## Slide 2: Request
Facility Name | Date | Time | VDI # | Mvars Dispatched above units URL

## Slide 3: Problems
Confidentiality
  Protocol 1.3.1.1 – Items Considered Protected Information
    (6) ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items 10,11,and 12.
    None of the Exceptions specified in section 1.3.6 appear to apply.

## Slide 4: Problems
Process
  ERCOT does not issue instructions to produce “X” MVAR of reactive, but requests participants to hold a specified voltage value. Thus the “MVAR requested above URL” portion of this form is difficult for ERCOT to provide.

## Slide 5: What ERCOT can provide
VDI instructions which direct VSS service without naming specific resources or amounts.
Example: on August 14th at 16:20 ERCOT issued a VSS instruction in the Corpus Christi area to increase voltage 2 kv