DWG Report to ROS, September 2005

- The last DWG meeting was September 8-9, 2005.

- Recent DWG efforts have primarily been directed toward simulation of the August 19, 2004 FPL Forney plant trip.

- The next DWG meeting is tentatively scheduled for October, 2005.

DWG Tasks, 2005

| Task | Status |
| --- | --- |
| Flat start future case (part of 2005 flat start effort). | Complete |
| Incorporate load as responsive reserve models into dynamics database. | Complete |
| Flat start 2005 case with wind models. | Complete |
| Publish flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Study: Simulate ROS selected event and evaluate fidelity with recorded event data. | Working |
| Revise ERCOT wind models for better fidelity during multi-wind plant studies. | Complete |
| Work with ERCOT Planning to archive DWG documents. | Working |
| Annual Procedural Manual review/update. | Fall Activity |
| Begin 2006 flat start activities. | Fall Activity |
| Revisit TVD, part I. Determine whether the guidance is effective and appropriate. | Fall Activity |