## Final CRE list
2006 Final CREs List
CSC1 and CSC6
FromBus | ToBus | Ckt | FrBusName | FrBusVolt | ToBusName | ToBusVolt | Type | CRE Identification | Reason
1429 | 1421 | 1 | JXBRO SS | 345 | WILLOWCK | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1440 | 1900 | 1 | CMCHE SS | 345 | COM PEAK | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1430 | 1420 | 1 | GRAHAM | 345 | SWEETWATER | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1430 | 1030 | 1 | GRAHAM | 345 | MORGAN CREEK | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1430 | 6230 | 1 | GRAHAM | 345 | MULBERRY CREEK | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1430 | 1422 | 1 | GRAHAM | 345 | BOWMAN | 345 | Line | CRE1/CRE6 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
CSC2
FromBus | ToBus | Ckt | FrBusName | FrBusVolt | ToBusName | ToBusVolt | Type | CRE Identification | Reason
3402 | 3405 | 1 | LCRK LS | 345 | T HOUSE | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3409 | 3410 | 1 | LAKE CRK | 345 | LAKE CRK | 138 | Tran | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3409 | 3405 | 1 | LAKE CRK | 345 | T HOUSE | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3412 | 3405 | 1 | TEMP PEC | 345 | T HOUSE | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3414 | 3415 | 1 | TEMP SS | 345 | TEMP SS | 138 | Tran | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3414 | 3409 | 1 | TEMP SS | 345 | LAKE CRK | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3420 | 3410 | 1 | TEMP PEC | 345 | LAKE CRK | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3430 | 3675 | 1 | SANDOW | 138 | ROGERS | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3594 | 3593 | 1 | MCGREG T | 138 | SPGVAL M | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3650 | 3430 | 1 | ELGIN SS | 138 | SANDOW | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3650 | 3658 | 1 | ELGIN SS | 138 | TAYLOR | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3666 | 3673 | 1 | HUTTO SS | 138 | TAYLOR W | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3682 | 32 | 1 | MILANO M | 138 | ROBERTSN | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3685 | 3689 | 1 | CAMERON | 138 | MARAK | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3688 | 3640 | 1 | JARRELLE | 138 | SALADO | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7040 | 3429 | 1 | AUSTRO34 | 345 | SANDOW | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7040 | 3429 | 2 | AUSTRO34 | 345 | SANDOW | 345 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7084 | 7064 | 1 | GRAPMI13 | 138 | LAMPAS13 | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7100 | 7060 | 1 | BURNET13 | 138 | EBABES13 | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7310 | 7324 | 1 | GIDEON13 | 138 | BUTLER13 | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
7062 | 7061 | 1 | KEMPNE13 | 138 | COPPCV13 | 138 | Line | CRE2 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
CSC3
FromBus | ToBus | Ckt | FrBusName | FrBusVolt | ToBusName | ToBusVolt | Type | CRE Identification | Reason
5915 | 44000 | 39 | SO TEX 5 | 345 | W_A_P_ 5 | 345 | Line | CRE3 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
43035 | 44000 | 99 | OASIS_5 | 345 | W_A_P_ 5 | 345 | Line | CRE3 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
8121 | 8127 | 1 | BLESSNG4 | 138 | L.CITYM4 | 138 | Line | CRE3 | Improved operational control
CSC4
FromBus | ToBus | Ckt | FrBusName | FrBusVolt | ToBusName | ToBusVolt | Type | CRE Identification | Reason
967 | 40600 | 75 | GIBCRK B | 345 | ROANS PR | 345 | Line | CRE4 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
3391 | 46500 | 1 | JEWETT N | 345 | TOMBAL 5 | 345 | Line | CRE4 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
40600 | 45972 | 75 | ROANS PR | 345 | KUYDAL 5 | 345 | Line | CRE4 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
44500 | 45500 | 98 | OBRIEN 5 | 345 | T_H_W_ 5 | 345 | Line | CRE4 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
CSC5
FromBus | ToBus | Ckt | FrBusName | FrBusVolt | ToBusName | ToBusVolt | Type | CRE Identification | Reason
2372 | 2361 | 1 | COLLINSS | 345 | CLT NW | 345 | Line | CRE5 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1696 | 2514 | 1 | MOSES-T | 345 | ALLEN2SS | 345 | Line | CRE5 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
1695 | 1697 | 1 | MOSES | 345 | SULSP SS | 345 | Line | CRE5 | Passed the analytical criteria per ERCOT Protocol section 7.2.3
2531 | 2509 | 1 | ALLEN 1 | 138 | ALLENSSW | 138 | Line | CRE5 | Improved operational control
2549 | 2510 | 1 | ALLEN 2 | 138 | ALLENSSE | 138 | Line | CRE5 | Improved operational control

## CSC_2
Boundary Generators for CSC 2
For the Following CREs
From 7040 To 3429 Circuit 1 From 3650 To 3430 Circuit 1 From 7040 To 3429 Circuit 2
These generators changed zone
Gen Num | Gen Name | Old Zone | New Zone | Gen_MWMax
3431 | Sandow 1 | 4 | 2 | 120
3431 | Sandow 2 | 4 | 2 | 120
3431 | Sandow 3 | 4 | 2 | 120
3432 | Sandow 4 | 4 | 2 | 579

## CSC_4
Boundary Generators for CSC 4
For the Following CREs
From 3391 To 46500 Circuit 1 From 44500 To 45500 Circuit 98 From 967 To 40600 Circuit 75
These generators changed zone
Gen Num | Gen Name | Old Zone | New Zone | Gen_MWMax
48671 | Frontier 1 | 2 | 3 | 161
48672 | Frontier 2 | 2 | 3 | 143
48673 | Frontier 3 | 2 | 3 | 159
48674 | Frontier 4 | 2 | 3 | 393

## CSC_5
Boundary Generators for CSC 5
For the Following CREs
From 1695 To 1697 Circuit 1 From 1696 To 2514 Circuit 1
These generators changed zone
Gen Num | Gen Name | Old Zone | New Zone | Gen_MWMax
1687 | Valley 1 | 5 | 2 | 181
1688 | Valley 2 | 5 | 2 | 557
1689 | Valley 3 | 5 | 2 | 385
2371 | Collin SES 1 | 5 | 2 | 138
6948 | Denison Dam 1 | 5 | 2 | 40
6948 | Denison Dam 2 | 5 | 2 | 40