| SCR Number | 718SCR |
| --- | --- |
| ###### Status |  |
| SCR Title | Real Time Interzonal Congestion Monitoring |
| Other Document Reference/Source |  |
| Requested Resolution | ## Requested Resolution is to have the new screen operational ASAP. |
| System Change Description | New screen on the ERCOT Portal with actual real-time flow, flow limits, and MVARs for all ERCOT-monitored Interzonal elements that comprise the four CSCs and their respective CREs. Further, the screen is to be dynamic so as to allow the ERCOT Operators to indicate the specific element(s) (CSC, CRE, or other) to which the ERCOT Operators are currently constraining. The screen should be updated as often as necessary to provide market participants with relevant data regarding lack of, imminent or actual Interzonal congestion. The data could presumably be culled from the “Real-Time Transmission Constraints Limits Screen” currently used by ERCOT Operators. All CSCs and their related CREs should be constantly displayed on the new screen, with the element to which ERCOT is constraining identified by a different color. No local congestion data is to be communicated to market participants via the proposed screen. |
| ###### Reason for Revision | On occasion, ERCOT Operators have been constraining to a limit other than what is posted for the CSCs on the ERCOT Portal. Consequently, market participants have based trading / operating decisions based on irrelevant data, the results of which have been to exacerbate existing congestion, rather than relieving congestion. |
| ## Timeline |  |
| Date Received | 14 May 2002 |
| Date Posted | 14 May 2002 |
| ERCOT Review Date |  |
| ERCOT Comments |  |

Business Case for Proposed System Change [Please provide sufficient detail]

Issue:

New screen on the ERCOT Portal with actual real-time flow, flow limits, and MVARs for all ERCOT-monitored Interzonal elements that comprise the four CSCs and their respective CREs.  Further, the screen is to be dynamic so as to allow the ERCOT Operators to indicate the specific element(s) (CSC, CRE, or other) to which the ERCOT Operators are currently constraining.  The screen should be updated as often as necessary to provide market participants with relevant data regarding lack of, imminent or actual Interzonal congestion.  The data could presumably be culled from the “Real-Time Transmission Constraints Limits Screen” currently used by ERCOT Operators.  All CSCs and their related CREs should be constantly displayed on the new screen, with the element to which ERCOT is constraining identified by a different color.  No local congestion data is to be communicated to market participants via the proposed screen.

Resolution:  On occasion, ERCOT Operators have been constraining to a limit other than what is posted for the CSCs on the ERCOT Portal.  Consequently, market participants have based trading / operating decisions based on irrelevant data, the results of which have been to exacerbate existing congestion, rather than relieving congestion.

| ## Sponsor |  |
| --- | --- |
| Name | Aaron Smith / Dynegy Pwr Mktg, Inc and Martin Ryan / Reliant Energy Inc. |
| E-mail Address | Aaron.smith@dynegy.com martin_I_ryan@reliantenergy.com |
| Company | Dynegy Power Marketing, Inc. Reliant Energy Inc. |
| Company Address |  |
| Phone Number | Aaron Smith: 713.767.5899 Martin Ryan: 713.207.2518 |
| Fax Number |  |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |