## ZID extract
ERCOT extract currently (reflects the adjusted ZIDDN) |  |  |  |  | Suggestion: Originally submitted |  |  |  |  | Suggestion: Adjusted due to fleet |  |  |  |  | Add additional adjustments
Date | Determinant | Channel | Interval | Value | Date | Determinant | Channel | Interval | Value | Date | Determinant | Channel | Interval | Value | as necessary to reflect
2003-08-28 | ZIDDN_N03_77 | 1 | 15 | 0 | 2003-08-28 | ZIDDN_N03_77 | 1 | 15 | 0 | 2003-08-28 | ZIDDNADJ1_N03_77 | 1 | 15 | 0 | all instructions within
|  |  | 30 | 0 |  |  |  | 30 | 0 |  |  |  | 30 | 0 | each settlement interval
|  |  | 45 | 0 |  |  |  | 45 | 0 |  |  |  | 45 | 0
|  |  | 100 | 0 |  |  |  | 100 | 0 |  |  |  | 100 | 0
|  |  | 115 | 0 |  |  |  | 115 | 0 |  |  |  | 115 | 0
|  |  | 130 | 0 |  |  |  | 130 | 0 |  |  |  | 130 | 0
|  |  | 145 | 0 |  |  |  | 145 | 0 |  |  |  | 145 | 0
|  |  | 200 | 0 |  |  |  | 200 | 0 |  |  |  | 200 | 0
|  |  | 215 | 0 |  |  |  | 215 | 0 |  |  |  | 215 | 0
|  |  | 230 | 0 |  |  |  | 230 | 0 |  |  |  | 230 | 0
|  |  | 245 | 0 |  |  |  | 245 | 0 |  |  |  | 245 | 0
|  |  | 300 | 0 |  |  |  | 300 | 0 |  |  |  | 300 | 0
|  |  | 315 | 0 |  |  |  | 315 | 0 |  |  |  | 315 | 0
|  |  | 330 | 0 |  |  |  | 330 | 0 |  |  |  | 330 | 0
|  |  | 345 | 0 |  |  |  | 345 | 0 |  |  |  | 345 | 0
|  |  | 400 | 0 |  |  |  | 400 | 0 |  |  |  | 400 | 0
|  |  | 415 | 0 |  |  |  | 415 | 0 |  |  |  | 415 | 0
|  |  | 430 | 0 |  |  |  | 430 | 0 |  |  |  | 430 | 0
|  |  | 445 | 0 |  |  |  | 445 | 0 |  |  |  | 445 | 0
|  |  | 500 | 0 |  |  |  | 500 | 0 |  |  |  | 500 | 0
|  |  | 515 | 0 |  |  |  | 515 | 0 |  |  |  | 515 | 0
|  |  | 530 | 0 |  |  |  | 530 | 0 |  |  |  | 530 | 0
|  |  | 545 | 0 |  |  |  | 545 | 0 |  |  |  | 545 | 0
|  |  | 600 | 0 |  |  |  | 600 | 0 |  |  |  | 600 | 0
|  |  | 615 | 0 |  |  |  | 615 | 0 |  |  |  | 615 | 0
|  |  | 630 | 0 |  |  |  | 630 | 0 |  |  |  | 630 | 0
|  |  | 645 | 0 |  |  |  | 645 | 0 |  |  |  | 645 | 0
|  |  | 700 | 0 |  |  |  | 700 | 0 |  |  |  | 700 | 0
|  |  | 715 | 0 |  |  |  | 715 | 0 |  |  |  | 715 | 0
|  |  | 730 | 0 |  |  |  | 730 | 0 |  |  |  | 730 | 0
|  |  | 745 | 0 |  |  |  | 745 | 0 |  |  |  | 745 | 0
|  |  | 800 | 0 |  |  |  | 800 | 0 |  |  |  | 800 | 0
|  |  | 815 | 0 |  |  |  | 815 | 0 |  |  |  | 815 | 0
|  |  | 830 | 0 |  |  |  | 830 | 0 |  |  |  | 830 | 0
|  |  | 845 | 0 |  |  |  | 845 | 0 |  |  |  | 845 | 0
|  |  | 900 | 0 |  |  |  | 900 | 0 |  |  |  | 900 | 0
|  |  | 915 | 0 |  |  |  | 915 | 0 |  |  |  | 915 | 0
|  |  | 930 | 0 |  |  |  | 930 | 0 |  |  |  | 930 | 0
|  |  | 945 | 0 |  |  |  | 945 | 0 |  |  |  | 945 | 0
|  |  | 1000 | 0 |  |  |  | 1000 | 0 |  |  |  | 1000 | 0
|  |  | 1015 | 0 |  |  |  | 1015 | 0 |  |  |  | 1015 | 0
|  |  | 1030 | 0 |  |  |  | 1030 | 0 |  |  |  | 1030 | 0
|  |  | 1045 | 0 |  |  |  | 1045 | 0 |  |  |  | 1045 | 0
|  |  | 1100 | 0 |  |  |  | 1100 | 0 |  |  |  | 1100 | 0
|  |  | 1115 | 0 |  |  |  | 1115 | 0 |  |  |  | 1115 | 0
|  |  | 1130 | 0 |  |  |  | 1130 | 0 |  |  |  | 1130 | 0
|  |  | 1145 | 0 |  |  |  | 1145 | 0 |  |  |  | 1145 | 0
|  |  | 1200 | 0 |  |  |  | 1200 | 0 |  |  |  | 1200 | 0
|  |  | 1215 | 0 |  |  |  | 1215 | 0 |  |  |  | 1215 | 0
|  |  | 1230 | 0 |  |  |  | 1230 | 0 |  |  |  | 1230 | 0
|  |  | 1245 | 0 |  |  |  | 1245 | 0 |  |  |  | 1245 | 0
|  |  | 1300 | 0 |  |  |  | 1300 | 0 |  |  |  | 1300 | 0
|  |  | 1315 | 0 |  |  |  | 1315 | 0 |  |  |  | 1315 | 0
|  |  | 1330 | 0 |  |  |  | 1330 | 0 |  |  |  | 1330 | 0
|  |  | 1345 | 0 |  |  |  | 1345 | 0 |  |  |  | 1345 | 0
|  |  | 1400 | 0 |  |  |  | 1400 | 0 |  |  |  | 1400 | 0
|  |  | 1415 | 0 |  |  |  | 1415 | 0 |  |  |  | 1415 | 0
|  |  | 1430 | 0 |  |  |  | 1430 | 0 |  |  |  | 1430 | 0
|  |  | 1445 | 0 |  |  |  | 1445 | 0 |  |  |  | 1445 | 0
|  |  | 1500 | 0 |  |  |  | 1500 | 0 |  |  |  | 1500 | 0
|  |  | 1515 | 0 |  |  |  | 1515 | 0 |  |  |  | 1515 | 0
|  |  | 1530 | 0 |  |  |  | 1530 | 0 |  |  |  | 1530 | 0
|  |  | 1545 | 0 |  |  |  | 1545 | 0 |  |  |  | 1545 | 0
|  |  | 1600 | 0 |  |  |  | 1600 | 0 |  |  |  | 1600 | 0
|  |  | 1615 | 0 |  |  |  | 1615 | 0 |  |  |  | 1615 | 0
|  |  | 1630 | 1 |  |  |  | 1630 | 1 |  |  |  | 1630 | 1
|  |  | 1645 | 14 |  |  |  | 1645 | 14 |  |  |  | 1645 | 14
|  |  | 1700 | 18.75 |  |  |  | 1700 | 18.75 |  |  |  | 1700 | 18.75
|  |  | 1715 | 18.75 |  |  |  | 1715 | 5.75 |  |  |  | 1715 | 18.75
|  |  | 1730 | 45.75 |  |  |  | 1730 | 45.75 |  |  |  | 1730 | 45.75
|  |  | 1745 | 50 |  |  |  | 1745 | 50 |  |  |  | 1745 | 50
|  |  | 1800 | 50 |  |  |  | 1800 | 50 |  |  |  | 1800 | 50
|  |  | 1815 | 50 |  |  |  | 1815 | 50 |  |  |  | 1815 | 50
|  |  | 1830 | 49.75 |  |  |  | 1830 | 49.75 |  |  |  | 1830 | 49.75
|  |  | 1845 | 48 |  |  |  | 1845 | 48 |  |  |  | 1845 | 48
|  |  | 1900 | 49.25 |  |  |  | 1900 | 49.25 |  |  |  | 1900 | 49.25
|  |  | 1915 | 44.25 |  |  |  | 1915 | 44.25 |  |  |  | 1915 | 44.25
|  |  | 1930 | 34.25 |  |  |  | 1930 | 34.25 |  |  |  | 1930 | 34.25
|  |  | 1945 | 24 |  |  |  | 1945 | 24 |  |  |  | 1945 | 24
|  |  | 2000 | 17 |  |  |  | 2000 | 17 |  |  |  | 2000 | 17
|  |  | 2015 | 2.5 |  |  |  | 2015 | 2.5 |  |  |  | 2015 | 2.5
|  |  | 2030 | 11.5 |  |  |  | 2030 | 11.5 |  |  |  | 2030 | 11.5
|  |  | 2045 | 23.25 |  |  |  | 2045 | 23.25 |  |  |  | 2045 | 23.25
|  |  | 2100 | 38.75 |  |  |  | 2100 | 38.75 |  |  |  | 2100 | 38.75
|  |  | 2115 | 43.5 |  |  |  | 2115 | 43.5 |  |  |  | 2115 | 43.5
|  |  | 2130 | 45.25 |  |  |  | 2130 | 45.25 |  |  |  | 2130 | 45.25
|  |  | 2145 | 45.25 |  |  |  | 2145 | 45.25 |  |  |  | 2145 | 45.25
|  |  | 2200 | 4 |  |  |  | 2200 | 4 |  |  |  | 2200 | 4
|  |  | 2215 | 0 |  |  |  | 2215 | 0 |  |  |  | 2215 | 0
|  |  | 2230 | 0 |  |  |  | 2230 | 0 |  |  |  | 2230 | 0
|  |  | 2245 | 0 |  |  |  | 2245 | 0 |  |  |  | 2245 | 0
|  |  | 2300 | 0 |  |  |  | 2300 | 0 |  |  |  | 2300 | 0
|  |  | 2315 | 0 |  |  |  | 2315 | 0 |  |  |  | 2315 | 0
|  |  | 2330 | 0 |  |  |  | 2330 | 0 |  |  |  | 2330 | 0
|  |  | 2345 | 0 |  |  |  | 2345 | 0 |  |  |  | 2345 | 0
|  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0
|  | Sub Total: |  | 728.75 |  |  | Sub Total: |  | 715.75 |  |  | Sub Total: |  | 728.75