| SCR Number | 735SCR | SCR Title | RRS Calculation for Hydro Units |
| --- | --- | --- | --- |
| Impact Analysis Date |  | June 30, 2004 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 6-LL |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | This SCR could be a Release 5 candidate for vendor work, which would be a 2005 budget impact and implemented approximately the end of May, 2005. Approximately 240 vendor hours and 240 internal programming hours would be necessary. |  |
| ERCOT Staffing Impacts (across all areas) |  | No staffing impact upon implementation of system changes. |  |
| ERCOT Computer System Impacts |  | Programming is required in the Market Operator Interface (MOI), Scheduling Pricing Dispatch (SPD) clearing engine, and the Replacement Reserve Service (RPRS) clearing engine. As part of the market clearing process, which is actually a linear programming optimization, the QSE Ancillary service obligations are modeled as constraints. The generator plan MW values provide the starting point for the optimization and during optimization the program would ensure that there is adequate capacity to meet the energy schedule, the award MW and room for AS obligations. RRS is one of the AS constraints. Thus, if we have to ensure that the hydro units are not used for providing balancing energy but included in the AS allocation, the status of those units should be visible to the market clearing engine and respected in the optimization. |  |
| ERCOT Business Function Impacts |  | No business function impact |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None determined

Evaluation of Interim Solutions (e.g., manual workarounds)

No feasible manual workaround

Comments

The option of using a synchronous mode as a resource code will make implementation less costly.