| PRR Number | 611 | PRR Title | Reporting of Operation Reserve Capability Under Severe Gas Curtailments |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 1.3.1.1 Items Considered Protected Information - Winter Preparedness Report (new) |  |
| Requested Resolution (Normal or Urgent) |  | Urgent |  |
| Revision Description |  | Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. Adds information submitted under Section 12.4.7 to the list of items considered Protected Information in Section 1.3.1.1. |  |
| Reason for Revision |  | The additional data is necessary for determining the amount of MW that can be served from Resources in ERCOT in the event there is a severe weather condition that results in gas curtailments. ERCOT requests urgency for this PRR to ensure that it is able to collect the data in time to develop and publish the Winter Report by November 1, 2005. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 6/14/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive Taylor, Texas 76574 |
| Phone Number | 512 248 3195 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Additional Staff effort to develop the Report. | None | Increased reliability in the event of winter gas curtailments. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Increased reliability in the event of winter gas curtailments. |
| LSE: General, Including NOIE | None | None | Increased reliability in the event of winter gas curtailments. |
| LSE: CR & REP | None | None | Increased reliability in the event of winter gas curtailments. |
| QSE | None | None | Increased reliability in the event of winter gas curtailments. |
| Resource | Additional effort to comply with reporting requirements | Not known | None |
| TDSP | None | None | None |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

(4)	Resource Plans;

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE;

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (10), (11) and (12);

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

(8)	Settlement Statements identifiable to a specific QSE;

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

(13)	Renewable Energy Credit account balances;

(14)	Credit Limits identifiable to a specific QSE;

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	The unavailability of Switchable Resources to the ERCOT System and supporting documentation submitted pursuant to Section 16.5.3(5), Requirements for Reporting and for Changing the Terms of a Resource Registration, except for reporting the aggregate capacity of Switchable Resources for Reserve Margin calculations.

(23)	Alternative fuel reserve capability by Resource and firm gas transportation contract information submitted pursuant to Section 12.4.7, Winter Preparedness Report.

    - Winter Preparedness Report

By November, 1 of each year, ERCOT shall post a report of the forecasted December through February ERCOT operating reserve levels under a severe gas curtailment scenario.  The report will include:

- The aggregate alternative fuel maximum capability in MW and the average number of hours of operation at maximum output with alternative fuel;

- The average number of hours per day at maximum output with the corresponding maximum output utilizing firm gas supply and transportation contracts; and

- The aggregate MW output at a maximum daily sustainable rate utilizing firm gas supply and transportation contracts.

By September 1 of each year, Generation Entities shall submit information, as prescribed in the Operating Guides, for each Generation Resource registered with ERCOT to enable ERCOT to prepare this report.