## Slide 1: Hurricane Rita
October 12, 2005

## Slide 2: Hurricane Rita’s Aftermath
Second worst storm in Entergy history
At the peak, 766,000 customers without power in Texas & Louisiana
Damage to 82 percent of Entergy’s Texas transmission lines and 38 percent of the transmission lines in southwest Louisiana, including all of the lines west of Lafayette. Total of approximately 3,803 line-miles out at the peak. 343 transmission lines and 436 substations out of service.
Of the 14 fossil units owned and/or operated by Entergy, only 2 units remained in operation immediately following the hurricane

## Slide 3
Hurricane Rita’s Aftermath

## Slide 4
Hurricane Rita’s Aftermath

## Slide 5: Restoration Efforts (As of October 4, 2005)
13,000 line and vegetation workers, plus 3,000 support personnel are dedicated to restoring service. Resources from around the country are in the Entergy service territory assisting with the massive restoration efforts.
75% of customers who lost service as a result of the Hurricane Rita have been restored. 180,000 customers remain without electrical service.
The transmission system has been repaired sufficiently in the western portion of the Texas service territory that the need no longer exists for customers to curtail demand to avoid possible rolling outages. However, there are approximately 154 transmission lines and 160 substations out of service.
7 of the 14 fossil plants have been restored to operations. The remaining 7 will be restored once offsite power or storm damage repairs are completed.

## Slide 6: Power of Hope Fund
Fund established to benefit employees and customers in need of assistance in rebuilding their lives after Hurricanes Katrina and Rita.
Information is available at www.powerofhope.com