## Slide 1: CenterPoint Energy Response to ‘Hurricane Rita’
CenterPoint Energy Response to Hurricane Rita
RMS Update October 12, 2005

## Slide 2: In the Weeks Prior to Hurricane Rita
CenterPoint Energy sent electric restoration crews to Florida, Alabama, Mississippi and Louisiana to assist other utilities in need
CNP played key roles in opening and operating shelter for Katrina evacuees at the George R. Brown Convention Center
CNP coordinated setting up housing for the thousands of Katrina evacuees in shelters throughout the Houston area
Notes: <number>
<footer>
<header>
<date/time>

## Slide 3: Preparation for the Storm
On Monday, 9/19/05, began preparation to bring in outside crews/logistics to support (food, housing, transportation, etc…) storm restoration efforts
Insured adequate storm stock material levels
Prepared Company facilities for storm
Communication links to the Market (ERCOT, CR’s), Cities, key governmental agencies and other key stakeholders established
Notes: <number>
<footer>
<header>
<date/time>

## Slide 4: Preparation for the Storm
Unprecedented evacuations ordered throughout service territory as early as Tuesday, 9/20/05
Routine service orders, meter reading in coastal areas suspended due to mandatory evacuations,
Traffic issues prevented driving in major roads and highways throughout the service area as the week progressed
Four service area offices (Baytown, Channelview, Brazosport and Galveston) relocated out of harm’s way into other Houston area locations
As evacuation areas increased, housing for employees in essential jobs secured, key personnel staged in preparation for storm’s landfall
Notes: <number>
<footer>
<header>
<date/time>

## Slide 5: Thursday, September 22, 2005
CenterPoint Energy implemented our Emergency Operations Plan (Force Majeure) to prepare for storm restoration to the greater Houston-area.
  Our plan establishes emergency duty assignments for all Houston-area employees
  Our first priority is restoring service to key facilities such as hospitals, water treatment plants, and public service facilities.
  We repair those major lines and circuits that will restore power to the greatest number of customers in the shortest amount of time.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 6: Friday, September 23, 2005 (4 P.M.)
The outer bands of Hurricane Rita made landfall along the Texas-Louisiana border. By early Saturday morning, during the peak of the storm, more than 700,000 customers were without power.
70% of CNP’s service territory experienced Hurricane or Tropical Storm force winds resulting in significant damage to our distribution system.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 7: CNP Restoration Efforts
700,000 Customers without power, 9/24 – 7am
Notes: <number>
<footer>
<header>
<date/time>

## Slide 8: CNP Restoration Efforts
Notes: <number>
<footer>
<header>
<date/time>

## Slide 9: CNP Restoration Efforts
Notes: <number>
<footer>
<header>
<date/time>

## Slide 10: CNP Service Restoration Efforts
At the height of the storm 700,000 customers were without power.
After 48 hours of assessment and restoration efforts, CNP restored service to more than 500,000 of the 700,000 customers who lost power at the peak of Hurricane Rita.
Friday, September 30, 2005
  12:00 PM – CNP had restored service to its service territory, we dispatched linemen and support personnel to assist neighboring utility Entergy in its transmission and distribution system restoration efforts.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 11: Houston, we have a problem!
On Sunday, 9/25/05, CNP responded to a call from Houston’s Mayor Bill White when it was discovered that Trinity River Pumping Station had lost power.
  Station pushes water from the Trinity River to the Lynchburg Reservoir, which supplies water to chemical plants and refiners along the Houston Ship Channel and 10 cities, including Houston.
  Station is located in Entergy’s service territory, no estimate on when it could be restored.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 12: CenterPoint Energy can you help?
Mayor White asked CNP to do something unprecedented, which was to re-route power from CNP’s electric grid to Entergy’s.
PUCT made a motion to instruct the drafting of an order to allow CNP to provide service in the Entergy service territory
  75 CNP employees worked 20-hour days and as a result on September 28th, six of the 12 pumps at Trinity River pumping station were up and running, which is sufficient to maintain necessary water levels to all affected.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 13: Force Majeure Market Impacts
CNP declared Emergency Operations Plan (EOP) or Force Majeure status starting Thursday, September 22 through Sunday, October 2, 2005.
  CNP Performance Metrics reports for the 3rd Quarter 2005 will be duly noted with Force Majeure dates.
  Meter read cycles that were scheduled during this Force Majeure event resulted in CNP generating a larger number than usual of estimated meter readings (867_03 Monthly Usage).
CNP notified RMS, ERCOT, and the Market that there will be a two-week delay in providing CRs with CNP’s proposed IDR installation schedule for meter changes related to the new IDR threshold in ERCOT Protocols Section 18.6.1 and 18.6.6.
CNP provided 27 market notices and updates through the storm and restoration periods to keep all parties well-informed of Storm Restoration success and to provide market guidance
Notes: <number>
<footer>
<header>
<date/time>

## Slide 14: 27 Market Communications
DATE TIME COMMUNICATION
1. 09/21/2005 09:55 AM CNP Discontinues DNP Order Execution
2. 09/21/2005 05:46 PM CNP Discontinues Meter Reading In Evacuation Areas
3. 09/22/2005 12:30 PM Hurricane Rita Advisory: Communication Suggestions
4. 09/22/2005 05:43 PM CNP Prepares Crews for Hurricane Rita Power Restoration
5. 09/24/2005 10:55 AM CNP Responds to Hurricane Rita: Crews Begin To Assess Damage, Restore Power
6. 09/24/2005 03:35 PM CNP Damage Assessment & Restoration Efforts Continue
7. 09/24/2005 07:09 PM CNP Completes Aerial Survey; Power Restoration In Progress
8. 09/24/2005 09:36 PM CNP Responds to Hurricane Rita; Restores Power To 325,000 Customers
9. 09/25/2005 05:02 AM CNP Responds to Hurricane Rita; 83% of CNP’s Customers Have Power
10. 09/25/2005 11:45 AM CNP Expects to Restore All Power By Friday
11. 09/25/2005 04:48 PM CNP Restores Power to an Additional 75,000 Customers Since 4:30 AM; Expects to Restore All Power By Friday
12. 09/25/2005 06:51 PM Hurricane Rita Outages – Instructions for Use of Reporting Spreadsheet
13. 09/25/2005 09:57 PM CNP Restores Power To 500,000 Customers In 36 Hours; Expects To Restore All Power By Friday
14. 09/26/2005 09:11 AM Market Notification – CNP Heat Advisory
15. 09/26/2005 09:25 AM CNP Hurricane Rita Recovery Advisory – Important Information and Instructions Concerning Recovery
16. 09/26/2005 11:01 AM CNP Restores Power To 91 Percent Of Customers; Remaining Outages Concentrated In Heavily Wooded Areas
17. 09/26/2005 03:55 PM CNP Reports 145,000 Customers Without Power
18. 09/27/2005 08:59 AM Market Notification – CNP Heat Advisory Extended (Day 2)
Included Notice To Send 650_01 Reconnect Orders For DNPs
19. 09/27/2005 10:54 AM Market Notice – CNP Service Order Update Included Notice To Send 650_01 Reconnect Orders For to Cancel pending Disconnects for Non-Payment
20. 09/27/2005 12:00 PM CNP Hurricane Rita Update – 605,000 Customers Restored
21. 09/28/2005 08:12 AM Market Notification – CNP Heat Advisory Extended (Day 3)Included Notice To Send 650_01 Reconnect Orders For DNPs
22. 09/28/2005 01:23 PM CNP Hurricane Rita Update – CNP Reports 40,000 Customers Without Power.
23. 09/28/2005 04:42 PM CNP Hurricane Rita Update – CNP Reports 30,000 Customers Without Power.
24. 09/29/2005 11:02 AM CNP Hurricane Rita Update – CNP Reports 10,000 Customers Without Power
25. 0929/2005 12:46 PM Market Notice – CNP Service Order Update Included Notice To Send 650_01 Reconnect Orders to Cancel pending Disconnects for Non-Payment
09/29/2005 04:28 PM FINAL CNP Hurricane Rita Update – CNP Reports Fewer Than 5,000 Customers Remaining Without Power
10/03/2005 02:05 PM CenterPoint Energy Service Order Update

## Slide 15: Force Majeure Market Impacts
  Move-In Request (MVI) and Move-Out Request (MVO):
    Field personnel completed the backlog of Move-Ins and Move-Outs scheduled to be completed during the Force Majeure declaration on Monday, October 3, 2005. Effective Tuesday, October 4, 2005 CNP is back to normal operations and scheduling of both Move-In and Move-Out request.
  Disconnect of Service for Non-Payment (DNP) Request:
    Due to the Force Majeure and overlapping Weather Moratoriums, all Competitive Retailers were requested to cancel pending disconnects for non-payment. The cancellation of these service orders assured the CRs and CNP that on October 4, 2005 when we resumed disconnection operations we were working with current information to prevent the retail customer from being negatively impacted who has either corrected the delinquency with a payment or made arrangements with their CR during this timeframe.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 16: Force Majeure Market Impacts
  Meter Re-Read Request:
    Orders that were pending in our system during this event were returned to the CR as "unexecutable". Effective Tuesday, October 4, 2005, CNP has resumed accepting and executing Meter Re-Read Request.
  Meter Test Request:
    Orders that were pending in our system during this event were returned to the CR as "unexecutable". Effective Tuesday, October 4, 2005, CNP has resumed accepting and executing Meter Test Request.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 17: Team Effort
CenterPoint Energy received great support and cooperation from the CRs in our territory.
They provided:
  Customer communications and IVR messaging
  Order suspension
  Emergency order process’
Other offers of help:
  Call Center Representatives to assist with outage calls at CenterPoint Energy’s offices.
  Personnel to assist CNP with Field Operations and Support
  Food, water, emergency equipment, and the delivery of such services.
Thank You Competitive Retailers !
Notes: <number>
<footer>
<header>
<date/time>

## Slide 18: Our Customers
It is times like these that the communities we serve really depend on us. We are proud to say that this has been one of CenterPoint’s finest hours, and that we have proven to be “Always There”.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 19: Questions?
Notes: <number>
<footer>
<header>
<date/time>