ERCOT Operations Report

ROS & OWG

June 2003

Frequency control issues (High or Low Frequency) 59.9 > F > 60.1

# Locations and Relative Activity of Congestion Management

*Days of units purchased for some time in the area described.  Data taken from daily reports and is approximate.  For global overview purposes only.

New Procedures/ Forms/ Operations Bulletins

| 06/30/2003 | ERCOT Power Operations Bulletin 25 | Revision of Operating Procedures |
| --- | --- | --- |
| 06/25/2003 | ERCOT Power Operations Bulletin 24 | Revision of Operating Procedures |
| 06/19/2003 | ERCOT Power Operations Bulletin 23 | Load Shed Ratios assigned to Transmission Operators in ERCOT for shedding firm load during step 4 of EECP |
| 06/06/2003 | ERCOT Power Operations Bulletin 22 | Voltage Collapse of Bryan/College Station Area 04/15/2003 |

# Security Alert Stage/ Threatcon/ Related issues

Security Threat Alert Yellow (Elevated) maintained through June.

Describe each EECP Occurrence

None.

OCN, Advisory, Alert, Energy Notice and Major Disturbances

ALERT

6/1	13:30-22:00	Transmission Alert.  Roanoake Auto exceeding first contingency

limit.

6/2	15:00-22:00	Transmission Alert.  Laredo Import exceeding first contingency

limit.

6/2	15:00-22:00	Transmission Alert.  Rio Hondo – La Palma  exceeding first

contingency  limit.

6/2	15:00-22:00	Transmission Alert.  Roanoake Auto exceeding first contingency

limit.

6/3	14:45-22:00	Transmission Alert.   Rio Hondo – La Palma exceeding first

contingency limit.

6/6	14:34-16:15	Loss of Communication Alert due to EMS failure.

6/12	15:00-22:00	Transmission Alert.  Laredo Import exceeding first contingency

limit.

6/17	14:12-22:00	Transmission Alert.   Rio Hondo – La Palma exceeding first

contingency limit.

6/23	14:00-19:00	Transmission Alert.   Rio Hondo – La Palma exceeding first

contingency limit.

6/25	15:30-21:00	Transmission Alert.  Laredo Import exceeding first contingency

limit.

6/26	15:41-18:54	Transmission Alert.  Laredo Import exceeding first contingency

limit.

OCN

ERCOT issued a notice when relieving congestion on the Houston Import from the North due to special handling involved with an inter-zonal constraint.  OCNs were posted on the following dates for North – Houston import.

6/6,6/8-6/9,6/12- 6/14,6/17,6/18, 6/20-6/23

An OCN was issued on 6/12 while controlling the North to South inter-zonal  flow.

Major Weather Related Power System Problems

No significant weather related equipment outages during June.

Significant Communication Problems

6/1  01:00 – 01:45	Held interval due to MOI problems.

Major Computer Systems Problems/ Fixes

6/1	Upgraded Oracle from 8i to 9i which helped reduce problems in the MOI.

6/6	Doubled existing EMS memory and processors.

6/15  21:15 – 22:00	Held interval due to CPU failure of a server.

Major system Voltage problems

None

Blackout/Load Shed incidences

None

ERCOT peak for last month (Unofficial)

6/25 17:00 	53788 MW (From Daily Operations Report)

Update on New Generation

No new generation during the month of June.

Max Temperature

6/22	104 F – Far West

# New SPS & RAP’s

No new SPS/RAP  for June.

## Other

6/30  16:00	CPS2 Epsilon 10 changed from 7.3MHz to 13.15MHz