Date:  October 27, 2005

To:  TAC Representatives

From:  Kevin Gresham, PRS Chair

Re: Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR598 - Charge Against OOM Start Up (FKA Extension of Credit Against OOM Start Up).  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no staffing impact upon system implementation; minor coding changes to Lodestar; no impact to ERCOT business functions; no impact to grid operations.  This PRR creates a charge against the Startup Cost if the Market Clearing Price of Energy (MCPE) is greater than Resource Category Generic Minimum Energy Cost for an Off-line Generation Resource that ERCOT has selected to provide Out of Merit Capacity (OOMC) Service.  The charge will start three hours after the end of the final interval of the OOMC Dispatch Instruction and continue until the earlier of: a) the end of the calendar day; b) the time at which the charge has completely covered the startup payment; or c) the next Resource-specific Dispatch Instruction.  ERCOT posted this PRR on 4/22/05.  On 6/23/05, PRS voted (61.9% in favor, 38.1% opposed) to recommend approval of PRR598; all market segments were present for the vote.  On 7/21/05, PRS reviewed and voted unanimously to accept ERCOT Staff’s suggested revisions to the PRR.  On 7/27/05, PRS unanimously voted to recommend priority of 1.1 and rank 32.3.  On 8/4/05 TAC voted to remand PRR598 to PRS for further language considerations.  On 8/24/05 PRS voted to recommend approval of PRR598 as amended by AEP and ERCOT.  There were two opposing votes from the IOU and Independent Generator segments and one abstention from the Independent Generator segment.  All segments were present for the vote.    On 9/8/05, TAC voted to approve PRR598 as recommended by PRS.  There were six votes against and two abstentions; all market segments were present for the vote. On 10/20/05, PRS reviewed the cost benefit analysis (CBA) for PRR598 and voted to recommend its approval.  The motion passed with one opposing vote from the Independent Power Marketer segment and one abstention from the Independent Generator segment.  All segments were present for the vote.  ERCOT credit staff and the Credit Work Group have reviewed PRR598 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR601 - 15 Minute Ramping for BES and Base Power Schedule.  Proposed effective date: upon system implementation.  Budgetary impact $100,000-500,000; no impact to ERCOT staffing; no impact to grid operations. Existing ERCOT resources in Settlements, Market Operations, and System Operations will be used to implement this PRR. This PRR impacts Lodestar, Scheduling, Pricing, and Dispatch (SPD), and Automatic Generation Control (AGC) systems. ERCOT will create a coordinated testing plan to ensure successful deployment across the market.  This PRR increases the ramping period for BES deployment and for Base Power Schedule changes from 10 minutes to 15 minutes.  PRR601 implements Potomac Economics Recommendation No. 9, elimination of the “plateau” during the interval.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS voted to recommend approval of PRR601, as modified by ERCOT comments and PRS, with one abstention from the Independent REP segment; all market segments were present for the vote.  On 7/27/05, PRS unanimously voted to recommend a priority of 1.2 and rank 79.5.  On 8/4/05, TAC voted unanimously to recommend approval of PRR601 as submitted by PRS.  All market segments were present.  On 9/20/05, the Board remanded PRR601 to TAC for development of a cost benefit analysis (CBA).  On 10/6/05, TAC addressed the issue of the CBA and voted unanimously to remand PRR601 to PRS for the development of a CBA.  All market segments were present.  On 10/27/05, PRS modified the CBA for PRR601 and voted unanimously to send it to TAC for review.  The Independent REP segment was not represented at the 10/27/05 meeting.  ERCOT credit staff and the CWG have reviewed PRR601 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR602 - Ancillary Service Obligation for DC Tie Exports.  Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no staffing impact upon system implementation; modification to Lodestar to exclude DC tie exports from AS Obligation calculations; no impact to ERCOT business functions; update necessary to Control Room procedures.  This PRR removes the allocation of AS to DC Tie exports.  ERCOT posted this PRR on 5/4/05.  On 6/23/05, PRS did not approve a motion to recommend approval.  After additional discussion, PRS decided to table the PRR pending additional information from ERCOT staff.  On 7/21/05, PRS voted to recommend approval of PRR602 as amended by comments submitted by ERCOT Staff and PRS.  There were two abstentions from the Independent REP segment and the Independent Power marketer segments; all segments were present for the vote.  On 8/24/05, PRS voted to assign a Priority of 1.1 and a Rank of 32.5.  There were two votes against the motion (Municipal and Independent Power Marketers) and eight abstentions (Municipal, Investor Owned Utilities, Independent Generators, Consumers, and Independent Power Marketers).  On 9/8/05, TAC approved PRR602 as recommended by PRS.  There was one vote against (Municipal segment) and two abstentions (Cooperative segment).  All market segments were present for the vote.  On 10/27/05, PRS modified the CBA for PRR602 and voted unanimously to send it to TAC for review.  The Independent REP segment was not represented at the 10/27/05 meeting.  ERCOT credit staff and the CWG have reviewed PRR602 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR 619 - Day Ahead Procurement of LaaR for RRS. Proposed effective date: upon system implementation.  Budgetary impact less than $100,000; no impact to ERCOT staffing upon system implementation; minor impact to Scheduling, Pricing and Dispatch (SPD) function; no impact to ERCOT business function or grid operations.  Under this PRR, all bids to provide Responsive Reserve Service (RRS) from Loads Acting as Resources (LaaR) submitted in the Day Ahead Market, with bid prices equal to or less than the applicable Market Clearing Price for Capacity (MCPC), would be awarded proportionally, using existing ERCOT procedures for handling multiple bids which have the same price.  ERCOT posted this PRR on 7/28/05.  On 8/24/05, the motion to recommend approval of PRR619 failed with three abstentions from the Investor Owned Utility and Independent Power Marketer segments and seven opposing votes from the Municipal, Investor Owned Utility, Independent Generator, Consumer, and Independent Power Marketer Segments.  The Cooperative market segment was not present for the vote.  No party made an alternative motion.  On 9/29/05, PRS voted to recommend approval PRR619 as submitted with six abstentions from the following segments: IOU (1), Independent Generators (2), Consumer (1) and Independent Power Marketers (2).  All segments were present for the vote.  The ERCOT CWG agrees that PRR 619 has credit implications.  Because current market activity reflects a tendency toward numerous RRS bids from LaaRs submitted to ERCOT with bid prices below zero there is a potential for participants to incur liability for this type of activity.  On 10/27/05, PRS reviewed the CBA and Impact Analysis for PRR619 and voted to assign PRR619 a priority of 2.1 and a rank of 106.5.  The motion passed with four opposing votes from the Independent Power Marketer (2), Consumer and Municipal segments; the Independent REP segment was not represented at the 10/27/05 meeting.  ERCOT CWG believes PRR619 should reduce credit risk since it removes the incentive for QSEs of LaaRs to submit negative bids.

- PRR620 - Notifying QSEs of their DBES Percentages.  Proposed effective date: January 1, 2006.  No budgetary impact; negligible impact to ERCOT staffing and computer systems; new task to Control Room Operations procedures; no impact to grid operations.   This PRR would change the requirement for ERCOT to notify QSEs (via the web listener) concerning their mandatory Down Balancing Energy Service (DBES) percentages.  ERCOT operators would only send notifications to QSEs if there is any change in the percentages of the mandatory Down Balancing Energy Service.  This PRR would also require ERCOT to always post the QSEs mandatory DBES percentages.  ERCOT posted this PRR on 8/19/05.  On 9/29/05, PRS voted unanimously to recommend approval of PRR620 as amended by comments submitted by ERCOT staff.  All segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR620 and noted that it does not require a system project.  ERCOT credit staff and the CWG have reviewed PRR567 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR621 - QSE Qualification Using Renewable Resources.  Proposed effective date:  January 1, 2006.  No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.  This PRR specifies that QSEs representing only Uncontrollable Renewable Resources may qualify to provide DBES.  This PRR also clarifies that ERCOT may only request DBES in an amount actually deliverable from the Uncontrollable Renewable Resource based upon energy production at the time of the qualification.  ERCOT posted this PRR on 8/25/05.  On 9/29/05, PRS voted unanimously to recommend approval of PRR621 as amended by comments submitted by ERCOT staff.  All segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR621 and noted that it does not require a system project.  ERCOT credit staff and the CWG have reviewed PRR567 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR622 - Calculation of Marginal Heat Rate for Resources Receiving OOME Up Instructions.  Proposed effective date:  January 1, 2006.  No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.  This PRR removes a sentence that was inadvertently left in the Protocols during the drafting process for PRR540 (OOM Cost Recovery Process Clarification).  ERCOT posted this PRR on 8/25/05.  On 9/29/05, PRS voted to recommend approval of PRR622 as amended by comments submitted by ERCOT staff.  There was one abstention from the Independent Power Marketer segment; all segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR622 and noted that it does not require a system project. ERCOT credit staff and the CWG have reviewed PRR622 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR623 - Resource Plan Use for OOME Instructed Deviation.  Proposed effective date: January 1, 2006.  No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations.  This PRR would align the Protocols with current EMMS system functionality by specifying that the most current Resource Plan available at the time of Real Time Balancing (RTB) Market Clearing be used for RTB calculations.  ERCOT posted this PRR on 8/25/05.  On 9/29/05, PRS voted unanimously to recommend approval of PRR623 as submitted.  All segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR623 and noted that it does not require a system project.  ERCOT credit staff and the CWG have reviewed PRR623 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR624 - Clarification of Market Participant Default Language.  Proposed effective date: January 1, 2006.  No budgetary impact; no impact to ERCOT staffing, computer systems, business function or grid operations. This PRR strengthens or clarifies Protocol provisions that address default situations.  ERCOT posted this PRR on 8/26/05.  On 9/29/05, PRS voted to recommend approval of PRR624 as amended by PRS.  There was one abstention from the Cooperative segment; all segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR624 and noted that it does not require a system project.   ERCOT credit staff and the CWG have reviewed PRR624, support it and believe it has positive credit implications.

- PRR628 - ERCOT Operation Performance - Non-Spinning Reserve Service Deployments.  Proposed effective date: January 1, 2006.  No budgetary impact; modification of manual reports can be accomplished with current staffing levels; no impact to computer systems, business function or grid operations.  This PRR adds a requirement for ERCOT to publish on the MIS the percentage of Balancing Energy Service (BES) bids awarded during every interval that includes deployment of Non-Spinning Reserve Service (NSRS); adds a requirement for ERCOT to publish a monthly report showing the average percentage of BES bids awarded when NSRS was deployed in the month; and adds a performance metric for ERCOT that reports when deployment of NSRS (in accordance with Section 6.7.4 (1)) leads to excessive replenishment of the BES Up Bid Stack, which is defined to be 90% or less depleted.  ERCOT posted this PRR on 8/26/05.  On 9/29/05, PRS voted unanimously to recommend approval of PRR628 as amended by comments submitted by ERCOT staff.  All segments were present for the vote.  On 10/20/05, PRS reviewed the Impact Analysis for PRR628 and noted that it does not require a system project.  ERCOT credit staff and the CWG have reviewed PRR628 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR636 – Texas SET 2.1 – Customer Registration - URGENT.  Proposed effective date: upon system implementation.  No budgetary impact because code changes are included in PR40034; no impact to ERCOT staffing; no new computer system impacts or business functions; no impact to grid operations.  This PRR would update and add a new subsection to Section 15, Customer Registration, to comply with Texas SET Version 2.1 changes to transaction and business processing.  ERCOT posted this PRR on 9/23/05.  On 10/12/05, PRS granted urgent status to PRR636 through email vote.  On 10/20/05, PRS unanimously voted to recommended approval of PRR636 as modified by joint TDSPs comments.  All market segments were present.  ERCOT credit staff and the CWG have reviewed PRR636 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR637 – Texas SET 2.1 – Retail Point to Point - URGENT.  Proposed effective date: upon system implementation.  No budgetary impact because code changes are included in PR40034; no impact to ERCOT staffing; no new computer system impacts or business functions; no impact to grid operations  This PRR would update and add a new subsection to Section 24, Retail Point to Point Communications, to comply with Texas SET Version 2.1 changes to transaction and business processing.  ERCOT posted this PRR on 9/23/05.  On 10/12/05, PRS granted urgent status to PRR637 through email vote. On 10/20/05, PRS unanimously voted to recommend approval of PRR637 as modified by TXU comments.  All market segments were present.  ERCOT credit staff and the CWG have reviewed PRR637 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

---------------------------------------------------------------------------------------------------------------------

# Status of Pending PRRs (Information Purposes Only):

The following PRRs are pending and the current status is explained below:

Pending Input from Other Subcommittees

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Municipal and Coop (two) segments.  All segments were present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough e-mail votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the PDC review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.  On 9/29/05, ROS reported the results of its investigation to PRS.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR631 – Black Start Bid Procedures and Compensation for Testing.  ERCOT posted this PRR on 9/6/01.  On 10/20/05, PRS voted unanimously to refer PRR631 to ROS and the Black Start Task Force to address issues raised in ERCOT Staff’s comments.

- PRR632 – Clawback Mechanism for Generating Resources at a Site with an RMR Unit.  ERCOT posted this PRR on 9/9/01.  On 10/20/05, PRS voted unanimously to refer PRR632 to WMS to revisit the cross-subsidization issues for RMR contracts and to report to PRS at its January 2006 meeting.

PRS Action Taken, ERCOT Conducting Impact Analysis for November PRS Meeting

- PRR625 - Clarification of Emergency QSE Language.  ERCOT posted this PRR on 8/26/05.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS voted to recommend approval of PRR625 as modified by PRS.  There were nine abstentions: two from the Independent Generator segment; three from the Municipal; one from the Consumer; one from the Independent REP; and two from the Independent Power Marketer.   All segments were present for the vote.  The ERCOT CWG supports PRR 625 and believes this PRR has positive credit implications.

- PRR633 – TSP Data Information Requirements.  ERCOT posted this PRR on 9/20/01.  On 10/20/05, PRS voted to recommend approval of PRR633 as amended by PRS.  There was one abstention form the Independent Power Producer segment.  All segments were present for the vote.  ERCOT credit staff and the CWG have reviewed PRR633 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR634 – ESI IDs Incorrectly Placed in Inactive Status.  ERCOT posted this PRR on 9/22/05.  On 10/20/05, PRS voted unanimously to recommend approval of PRR634 as amended by PRS.  All segments were present for the vote.  ERCOT credit staff and the CWG have reviewed PRR633 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

Items for Review & Initial Action at November 17 PRS Meeting

- PRR638 – Change Settlement Invoice Due Date from 16 Calendar Days to Five Business Days.  ERCOT posted this PRR on 10/4/05.  It is on a normal timeline.

- PRR639 – Notification of Repairs to EPS Meter Facilities Under Emergency Conditions.  ERCOT posted this PRR on 10/21/05.  It is on a normal timeline.

- PRR640 – Update Provisions for Capacity and Energy Payments for RMR Service and Add a New Standard Form Agreement for Synchronous Condenser Service.  ERCOT posted this PRR on 10/21/05.  It is on a normal timeline.

Rejected

PRR629 - Proper Pricing of Non-Spinning Reserve Service Energy. ERCOT posted this PRR on 8/26/05.  It is on a normal timeline.   On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS voted to reject PRR629.  There were seven opposing votes (one from the IOU segment, four from the Independent Generator, and two from the Independent Power Marketer) and three abstentions (two from IOU segment, and one from the Independent Power Marketer segment).  ERCOT credit staff and the CWG have reviewed PRR629 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

Sponsor Requested Deferral of Consideration

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November, 2003.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472 on 3/18/04.

- PRR543 – Schedules and Emergency Assistance Over CFE-ERCOT DC Ties.  ERCOT posted this PRR on 9/14/04.  PRS discussed PRR543 at its October meeting and tabled it pending further discussions with Commission Federal de Electricidad (CFE) of Mexico and final development.  The ERCOT CWG has reviewed PRR 543 and notes that credit risk exists to the extent energy flows to CFE from the ERCOT System as a result of the proposed Agreement.  See CWG comments dated 10/19/04 for details.

- PRR627 - RMR Transmission Issues and RMR Contract Extension. ERCOT posted this PRR on 8/26/05.  It is on a normal timeline.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS unanimously voted to refer PRR627 to a PRS task force.  ERCOT credit staff and the CWG have reviewed PRR627 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR630 - Private Use Networks.  ERCOT posted this PRR on 8/26/05.  It is on a normal timeline.  On 9/29/05 the submitter requested deferral of consideration.  On 10/20/05, PRS tabled PRR630 to allow time for TIEC to submit formal comments.  ERCOT credit staff and the CWG have reviewed PRR630 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR635 – Resource Plan Performance Metrics Update.  ERCOT posted this PRR on 9/22/05.  It is on a normal timeline.  On 10/20/05, PRS tabled PRR635 to allow time to address issues raised in ERCOT Staff’s comments.