| PRR Number | 601 | PRR Title | 15-Minute Ramping for BES and Base Power Schedule |
| --- | --- | --- | --- |
| Impact Analysis Date |  | July 14, 2005 |  |
| Credit Impacts |  | YES _______ NO __X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 5-LL ($100,000-$500,000) |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Estimated implementation for this project is 4-6 months. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional staffing required. Existing ERCOT resources in Settlements, Market Operations, and System Operations would be used to implement this request. |  |
| ERCOT Computer System Impacts |  | This request will impact Lodestar, Scheduling, Pricing, and Dispatch (SPD), and Automatic Generation Control (AGC) systems. ERCOT anticipates relatively minor code changes to Lodestar. Database parameter and configuration changes will be made in the SPD to account for the ramp rate duration time change. Parameters and software in AGC will be modified to account for the ramp duration change. There will also be software changes made in the Market Database (view to settlements). |  |
| ERCOT Business Function Impacts |  | This PRR would necessitate that ERCOT create a coordinated testing plan to ensure successful deployment across the market. |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

Significant ERCOT and market testing will be necessary to successfully implement this change. ERCOT will need to change the time the energy static schedules are smoothed from a 10 to a 15-minute interval.