| PRR Number | 593 | PRR Title | Reporting of Net Generation and Load (FKA Behind the “Fence” Reporting of Net Generation and Load) |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Approved |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 1.3.1.1 Items Considered Protected Information 10.3.2.3 Generation Netting for EPS Meters 10.3.2.4 Reporting of Net Generation Capacity or Load |  |  |
| Effective Date |  | November 1, 2005 |  |  |
| Priority and Rank Assigned |  | n/a |  |  |
| Revision Description |  | This PRR would add more resolution to the total actual ERCOT and projected Load. Due to generation netting, there could be a significant amount of Load that never gets reported to ERCOT. |  |  |
| Overall Market Benefit |  | A more accurate calculation of Load served within ERCOT will yield more accurate projections and reserve calculations. |  |  |
| Overall Market Impact |  | Unknown |  |  |
| Consumer Impact |  | A more accurate calculation of Load served within ERCOT will yield more accurate projections and reserve calculations. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR593 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - ERCOT posted the PRR on 4/13/05. - On 4/21/05, PRS considered the PRR. - The Generation Adequacy Task Force (GATF) submitted comments on 5/9/05. - PRS again considered this PRR on 5/19/05 - On 6/16/05, ERCOT posted the Impact Analysis (IA) for PRS. - On 6/30/05, ERCOT posted the IA for TAC. - On 7/7/05, TAC remanded this PRR. - On 6/30/05, TIEC submitted comments. - On 8/24/05, PRS re-considered this PRR. - On 9/8/05, TAC re-considered this PRR. - On 10/18/05, the Board considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/21/05, PRS voted unanimously to remand the PRR to the GATF for discussion. All segments were present for the vote. On 5/19/05, PRS voted to approve this PRR as amended by the GATF. The motion passed with one nay (Consumer) and one abstention (IPM). All market segments were present. On 8/24/05, PRS unanimously voted to recommend approval of PRR593 as amended by TIEC. All market segments were present. |  |  |
| Summary of PRS discussion |  | On 4/21/05 there was no discussion related to this PRR. On 5/19/05, the discussion focused on the way in which PRR593 considers some data confidential, but that it contains requirements to keep planning data non-confidential, and whether the criteria for submitting data for planning purposes should be reviewed. ERCOT informed the group that it is reviewing how it classifies data. At the 8/24/05 PRS meeting, ERCOT Staff agreed that the language as offered by TIEC would provide ERCOT with the desired data. Participants also raised the issues of generation tripping behind the fence and affecting the grid, particularly reactive power/voltage support; the use of seasonal data; and the new NERC requirements. TIEC stressed that to the extent data is already available it should be used first. |  |  |
| TAC Action |  | On 7/7/05, TAC voted to remand this PRR to PRS for further consideration. The motion passed unanimously. On 9/8/05, TAC voted to recommend approval of this PRR. The motion passed unanimously with all market segments present. |  |  |
| Summary of TAC discussion |  | At the 7/7/05 TAC meeting, the Consumers objected to the PRR language that would require Load to provide data regarding its net load and offered language to change the style of the PRR and revise the PRR language. Participants noted that this would dilute the intent of the PRR and impede ERCOT’s ability to forecast Load in relation to available Generation Resources of the system. TAC discussed remanding the PRR to address Consumer concerns. On 9/8/05, ERCOT Staff again agreed that the changes recommended by PRS would provide ERCOT with the necessary data for planning and determining reserve requirements. Participants also raised the issues of generation tripping behind the fence and affecting the grid. TIEC again stressed that it would work with ERCOT to address these issues and that to the extent data is already available it should be used first. |  |  |
| Board Action |  | On 10/18/05, the Board approved PRR 599 as recommended by TAC. |  |  |

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown | unknown | More reliable reserve calculations |
| MARKET SEGMENT |  |  |  |
| Consumer | Unknown | unknown | More reliable reserve calculations |
| LSE: General, Including NOIE | Unknown | unknown | More reliable reserve calculations |
| LSE: CR & REP | Unknown | unknown | More reliable reserve calculations |
| QSE | Unknown | unknown | More reliable reserve calculations |
| Resource | Unknown | unknown | More reliable reserve calculations |
| TDSP | Unknown | unknown | More reliable reserve calculations |

| Original Sponsor |  |
| --- | --- |
| Name | Manny Munoz, on behalf of the GATF |
| Company | N/A |
| Segment | N/A |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| GATF 050905 | Offered revised language and suggested changing the style of the PRR. |
| TIEC 082205 | Offered revised language that reflects that the appropriate place to measure the effect a Customer with on-site generation will have on the grid is at the Point of Interconnection, and only that net effect is relevant for the reserve margin calculation. |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

(4)	Resource Plans;

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE;

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (10), (11) and (12);

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

(8)	Settlement Statements identifiable to a specific QSE;

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

(13)	Renewable Energy Credit account balances;

(14)	Credit Limits identifiable to a specific QSE;

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	Information provided by Entities under Section 10.3.2.4

10.3.2.3	Generation Netting for EPS Meters

At Generation Resource Facilities, generation and associated Load will be metered at their points of interconnection to the ERCOT Transmission Grid.   Interval Data Recording (IDR) meters will be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net will be settled as generation.  In the intervals where the Load exceeds the generation output, the net will be settled as Load and carry any applicable Load shared charges.

For settlement purposes, generation netting, (which is defined as “the use of multiple in and out meter readings to determine generator output”) shall not be allowed except under one of the following conditions:

(1)	Single point of interconnection with delivered and received metering data channels.

(2)	Multiple points of interconnection where the Loads and generator output are electrically connected to a common switchyard, as defined below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur.

(3)	Point(s) of interconnection where a Qualifying Facility (QF) selling to the purchasers of the QF’s thermal output may net the Load meters of the thermal host with its generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TDSPs may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under PURA and applicable PUCT rules.  If the PUCT requires other Load served by onsite generators to pay the System Benefit Fund charges, then, in instances in which Load is served by generation through a common switchyard, the TDSP may install metering equipment solely for purposes of the TDSP’s calculation of System Benefit Fund charges, as provided by PURA, if any is applicable.  For purposes of this Section, new on-site generation has the meaning as contained in PURA Sections 39.252 and 39.292(k), of the Texas Utility Code.

(4)	For Generation Resources and/or Load with flow through on a private, contiguous transmission system (not included in a TDSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load.  For Settlement purposes, the metered interconnection points must be assigned to the same Congestion Zone and UFE Zone.

For purposes of this Section, a common switchyard is defined as:

An electric substation Facility where the point of interconnection for Load and Generation Resources are located at that same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its point of interconnection and the Generation Resource to its point of interconnection cannot be Facilities that have been placed in a TDSPs rate base.

      - Reporting of Net Generation Capacity

All Generation Resource Facilities with associated Load shall report to ERCOT before February 1st of each year its projected Net Generation capacity available to the grid for use by others during the June to August time period for the current calendar year and five (5) subsequent years in the same format as the generation capacity reports provided to the PUC.