| PRR Number | 631 | PRR Title | Black Start Bid Procedures and Compensation for Testing |
| --- | --- | --- | --- |
| Date |  | 10/13/2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Adams |  |
| E-mail Address |  | jadams@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | Taylor, TX |  |
| Phone Number |  | 512.248.3130 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Significant impact resulting from ERCOT having to perform or contract with a consultant to perform simulation studies of all Black Start Resources that offer to provide Black Start Service. | Requirement to perform testing or maintain data for consultant may impact computer systems. | Assures that ERCOT has a consistent evaluation of the simulation of Black Start Resources. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Not known |
| LSE: General, Including NOIE | Simulation study may require submittal of detailed generating unit information and operating parameters. | None | Benefits to NOEs are same as benefits to any other Market Participant. |
| LSE: CR & REP | None | None | Not known |
| QSE | Simulation study may require submittal of detailed generating unit information and operating parameters. | None | Reduces cost and risk associated with bidding Black Start Service and provides compensation for Resources used to qualify Black Start Resources |
| Resource | Simulation study may require submittal of detailed generating unit information and operating parameters. | None | Reduces cost and risk associated with bidding Black Start Service and provides compensation for Resources used to qualify Black Start Resources |
| TDSP | None | None | None |

Comments

ERCOT staff recommends PRS remand this PRR to the Black Start Task Force for consideration of the following issues:

- The motivation under current protocols is to perform a physical test to avoid consultant costs.  Such a physical test is inherently superior to a simulation.   This PRR would reverse this.

- ERCOT does not currently have sufficient resources in-house to perform these studies, and even contracting these studies would have a significant impact on ERCOT staffing.

- ERCOT has not yet located a consultant that could perform 12-15 stability studies of this type in the brief time allowed.

- The additional expenses incurred by ERCOT to provide and/or contract simulations are significant, and would increase Black Start uplift cost.

- The current Protocols and this PRR language are unclear as to the longevity of the simulation; or conditions under which a historic simulation/test becomes invalid.  It is unclear if ERCOT would be expected to pay resources multiple times per year to perform Black Start testing in cases of test failure; and what limitations to this expense should exist.

ERCOT proposes no modifications to the PRR at this time, but recommends additional discussion.

Revised Proposed Protocol Language

None