## Slide 1: SCR 745 Approach and SLA
Ron Hinsley
CIO, Vice President
ERCOT

## Slide 2: Retail System Scope

## Slide 3: Phased Implementation
Phased Implementation Recommended
  Each phase involves the purchase and installation of hardware to eliminate single points of failure by delivering system failover and redundancy capabilities
  Phase I – NAESB and Proxy Clustered Environments
    Cost approx. $600,000
  Phase II – Paperfree Clustered Environment
    Cost approx. $86,000
  Phase III – Database Clustered Environment
    Cost approx. $1.73 million

## Slide 4: Current Availability Performance
Scope: Retail systems
Current service levels
  Year to date availability 99.40%
    Transaction processing only, excludes Web
    Gross minutes – planned outage = Net availability
      393,120 – 9417 = 383,703
    Net availability – unplanned minutes = Percent available
      383,703 – 2296 = 381,407
    Percent available = 381,407/383,703 = 99.40%

## Slide 5: Proposed Service Level Agreement
Planned outages to occur only during the 1st and 3rd weekend of each month
Maintenance window between 8 a.m. Saturday and 10 p.m. Sunday (systems unavailable)
Availability of 99.25% outside of maintenance window
Target 99.9% availability after implementation of Phase I and Phase II of SCR745
If 99.9% cannot be achieved by those projects, then consider implementation of phase III of SCR745