## Slide 1: Reliability and Operations Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
November 3, 2005

## Slide 2: ROS Summary
2 OGRRs for Approval
1 SCR for Approval
ROS update

## Slide 3: OGRR 171 – Testing of Quick Start Units
OGRR submitted by ERCOT – revised by Austin Energy
OGRR establishes the test for a Quick Start Unit to demonstrate its ability to perform in the BES market.
Benefit: Compliance with PRR 588.
ROS recommended approval. (9 votes against: 1 Coop, 2 IOU, 3 Ind. Gen., 3 Consumer)
Ind. REP segment not present for vote.
Effective December 1, 2005

## Slide 4: OGRR 171 – Testing of Quick Start Units
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 5: OGRR 175 – Emergency Storm Drill Participation
OGRR submitted by Operations Task Force.
OGRR requires ERCOT to conduct an annual drill and makes participation mandatory for TOs and those QSEs that provide Ancillary Services.
Benefit: Prepare participants for emergency situations.
ROS recommended approval unanimously.
All market segments were present
Effective November 3, 2005 (Urgent Timeline)

## Slide 6: OGRR 175 – Emergency Storm Drill Participation
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Verification by ERCOT

## Slide 7: SCR 746 – Dynamic Rating Data to TSP Using ICCP Link
SCR submitted by City of Garland
SCR would provide transmission element dynamic rating data used by ERCOT to the appropriate TSP through the ICCP link.
ERCOT and the TSP need to use the same rating for transmission facilities. Both entities must also use the correct ratings.
Benefit: Makes the comparison of the data used by the TSP and the data used by ERCOT easier and more timely. This will improve the accuracy of the data used by both the TSP and ERCOT.

## Slide 8: SCR 746 – Dynamic Rating Data to TSP Using ICCP Link
ROS recommended approval unanimously
All market segments were present
Effective: Upon System Implementation
Priority and Rank: 1.1 priority, 9.5 rank

## Slide 9: SCR 746 – Dynamic Rating Data to TSP Using ICCP Link
Impact Analysis
Item Reviewed
Description
No
Impact
Credit Monitoring/Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$100K - $500k
Addition / mapping of SCADA
Additional administration support
1.5 FTE

## Slide 10: Recommended TAC Actions
Approval
  OGRR 171 – Testing of Quick Start Units in Balancing Energy Market
  OGRR 175 – Emergency Storm Drill Participation
  SCR 746 – Dynamic Rating to TSP Using ICCP Link

## Slide 11: ROS Summary Update
Status of OGRR 169 – Reporting of Reserve Capability Under Severe Gas Curtailments.
  Makes OGs compliant with approved PRR611
  Reporting form currently under review at the WG level
ROS and ERCOT are reviewing lessons learned by Hurricane Rita.
  Emphasis on improving preparations
  Expect report at December TAC meeting.