| OGRR Number | 175 | OGRR Title | Emergency Storm Drill Participation |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Recommended Action |  | Approval |
| Operating Guide Section(s) Requiring Revision (include Section No. and Title) |  | 1.8.5, ERCOT Severe Weather Drill (new) |  |  |
| Proposed Effective Date |  | Upon TAC approval. |  |  |
| Protocol Section(s) Requiring Revision, if any |  | None |  |  |
| Revision Description |  | An annual emergency storm drill will be conducted with appropriate emergency scenarios providing a realistic simulation of emergency conditions to operators to facilitate good communications between ERCOT, Qualified Scheduling Entities (QSE) (that provide Ancillary Services), and Transmission Operators. This emergency storm drill will be followed by a critique by all participants to ensure that communication paths worked as expected and operators received proper emergency training. |  |  |
| Overall Market Benefit |  | Involvement in the drill will prepare all participants for emergency situations. |  |  |
| Overall Market Impact |  | Market Participants will be required to participate in the annual drill. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - OGRR175 was posted on 9/7/05. - On 9/15/05, ROS voted to grant OGRR175 Urgent status. - On 9/30/05, OWG considered this OGRR (through email). - On 10/13/05, ROS considered this OGRR. - On 10/20/05, PRS reviewed this OGRR. |  |  |
| OWG Recommendation |  | OWG recommends approval of OGRR175 as submitted. |  |  |
| Summary of OWG Discussion |  | Because the September OWG meeting was cancelled due to possible hurricane conditions and considering the Urgent timeline for this OGRR, OWG members reviewed OGRR175 through email and responded with their recommendations between 9/26/05 and 9/30/05. All responding OWG members recommended approval of OGRR175. |  |  |
| ROS Recommendation |  | On 9/15/05, ROS voted unanimously to grant Urgent status to OGRR175. OWG was directed to provide a recommendation for this OGRR at the October ROS meeting. All market segments were present for the vote. On 10/13/05, ROS voted unanimously to recommend approval of OGRR175 as recommended by OWG. All market segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 9/15/05, ROS discussed how, with an Urgent timeline, this OGRR could be approved and be effective prior to this year's emergency storm drill, which is scheduled for November 9, 2005. On 10/13/05, ROS discussed the urgent OGRR process and the implementation date of this OGRR (upon TAC approval). |  |  |
| PRS Consistency Determination |  | No PRS member noted a discrepancy between OGRR175 and the Protocols. |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Stephen C. Knapp on behalf of the Operations Task Force |
| Company | N/A |
| Segment | N/A |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
|  | None. |

Proposed Operating Guide Language Revision

## 1.8	Operational Training

1.8.5	ERCOT Severe Weather Drill

ERCOT shall conduct a Severe Weather Drill one time a year.  This drill will be used to test the scheduling and communication functions of the primary and/or back up centers and train operators in emergency procedures.  All Qualified Scheduling Entities that provide Ancillary Services, and Transmission Operators are required to participate in the drill.  ERCOT will appoint an ERCOT Drill Coordinator who, with assistance from the Operations Working Group, will develop and coordinate the annual Severe Weather Drill. The Operations Working Group will review and critique the results of completed Severe Weather Drills to ensure effectiveness and recommend changes as necessary. ERCOT Compliance will verify and report Entity participation to the Reliability and Operations Subcommittee.

1.8.6	Criteria For The Selection Of Operators

To be selected as Operators, candidates should be capable of directing other personnel in their own organization and, at the same time, work harmoniously with the ERCOT System Operators and other Entities’ Operators.  In addition, they must have a high intellectual ability, above average reasoning, mathematical ability, well-developed communication skills and reasonable mechanical aptitude.  To ensure compliance with these criteria, a screening and selection procedure must be considered for prospective Operators.  This procedure should include the following:

- Evaluation against a detailed job description.

- Analysis of the candidate's past work record to determine character, reputation, and previous experience.

- In-depth interview with each candidate.

- Evaluation of intelligence, logic, mathematical, and communication skills along with psychological fitness.

1.8.7	Training Practices

Each Operating Entity should establish a clear requirement, define and develop a systematic approach in administering the training, and provide the necessary feedback as a measurement of curriculum suitability and trainee progress.  Each Operating Entity should recognize the importance of training and provide sufficient Operator participation through adequate staffing and work-hour scheduling.