| PRR Number | 350PRR | PRR Title | Revise Base Schedule Smoothing Algorithm |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Proposed Effective Date |  | Contingent on project start date. |  |
| Priority & Rank Assigned |  | 1.2 |  |
| Summary of Impact Analysis |  | There is an impact to the ERCOT IT systems, operating practices, and business processes. |  |
| Benefit |  | Provides improved control performance by the ERCOT control area and by a QSEs’ increased ability to follow the power schedule expected by ERCOT. |  |
| PRR Background |  | ## Changes the current “smoothing algorithm.” |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as revised by the AEP comments. |  |
| ###### Technical Advisory Committee Recommendation |  | TAC recommends approval as recommended by PRS. |  |

Recommended Language

#### 6.10.4.2	Base Power Schedule Calculation.

For performance measurement purposes, ERCOT shall calculate for each QSE every two (2) seconds the expected power resulting from the QSE’s Resource schedule less any other QSEs scheduled as a Resource. The expected power function will be calculated such that schedule changes between intervals will be ramped during a ten (10) minute fixed ramp period starting five (5) minutes prior to the start of an interval.    Energy provided outside of the resource schedule in the Settlement Interval as a result of ramping, will be considered an instructed deviation.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| AEP | Amended “Reason for Revision.” |