| PRR Number | 357PRR | PRR Title | Revise Definition of Market Solution |
| --- | --- | --- | --- |
| ###### Date |  | 9/26/02 |  |
| PRR Background |  | The Proposed Language is submitted for PRS’ consideration in cleaning up the existing language that defines a “Market Solution”. |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Joel Mickey & Young Li |  |
| E-mail Address |  | jmickey@ercot.com yli@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | (512) 248-3926 (512) 248-3925 |  |
| Fax Number |  | (512) 248 3082 |  |

Proposed Language

Market Solution

A Market Solution exists when at least three unaffiliated, independently bid Resource submit bids to ERCOT that can solve a circumstance of Local Congestion and no one unaffiliated bid or group of affiliated bids, is essential to solving the Local Congestion.  A Market Solution does not exist if constraints prevent the partial dispatch of the required three unaffiliated Resource, three groups of affiliated Resource, or combinations thereof; or if constraints result in one unaffiliated Resource, or group of affiliated Resource, being essential to solving the Local Congestion.

Comments on Essentiality

The ideal solution for the “essentiality“ is: Re-clear the local balancing market without the participation of a group of affiliated resources for a specific constraint and check whether the constraint can still be physically resolved.

Due to the complexity of this logic in the implementation, the current fix on the balancing energy market solution function uses the following approximation: Current fix looks for the contribution from one specific Resource Entity in resolving the local constraint and calculates whether this contribution amount can still be provided from the remaining capability of other Resource Entities with the assumption that those resources with physical category 4 deployment can not be used.