| PRR Number | 357PRR | PRR Title | Revise Definition of Market Solution |
| --- | --- | --- | --- |
| ###### Date |  | 11/21/2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Joel Mickey & Young Li |  |
| E-mail Address |  | jmickey@ercot.com yli@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | (512) 248-3925 (512) 248-3926 |  |
| Fax Number |  | (512) 248 3082 |  |

Proposed Language

Market Solution

A Market Solution exists when at least three unaffiliated, independently-bid Resources submit bids to ERCOT that can solve a circumstance of Local Congestion and no one unaffiliated bid or group of affiliated bids, is essential to solving the Local Congestion.  ERCOT will assume that all bids submitted on behalf of unaffiliated Resources are independent.  Following are examples of circumstances where a market solution does not exist:

1)	constraints prevent the partial dispatch of the required three unaffiliated Resources, or,

2)	affiliation exists in any combination among the three groups of  Resources, or

3)	if constraints result in one unaffiliated Resource, or group of affiliated Resources, being essential to solving the Local Congestion.

The determination of whether an unaffiliated Resource or a group of affiliated Resources is essential to solving Local Congestion is made by:

- Calculating the contribution required from a group of unaffiliated Resources to resolve the local constraint; and

- Determining if the contribution amount can still be provided from the remaining capability of other groups of Resources with the assumption that those resources having a negative impact on another binding constraint cannot be re-dispatched.