| PRR Number | 367PRR | PRR Title |  | IDR Installation & Use |
| --- | --- | --- | --- | --- |
| ###### Status |  | Posted |  |  |
| Protocol Section Requiring Revision |  | 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement |  |  |
| Requested Resolution |  | ## Normal |  |  |
| Revision Description |  | Re-word Section 18.6.1(4) to address two substantive changes: 1) Change wording to reflect, “IDRs installed at the request of ERCOT, a TDSP, …”, instead of “IDRs installed by ERCOT, a TDSP, …”. 2) Change “demand calculation” to “coincident demand calculation”. |  |  |
| ###### Reason for Revision |  | 1) The present wording may be misconstrued to imply that a CR can have a TDSP install an IDR for load research purposes, and not be required to use the interval data from that IDR in settlement. To close this gap, the proposed wording limits the exclusion of using the interval data in settlement to the entities for which this paragraph was originally intended to cover. Additionally, IDRs are not installed by ERCOT. However, IDRs may be installed at the request of ERCOT. The proposed wording also addresses this technicality. 2) The present wording does not capture the original intent, which was to determine a coincident peak demand. It could be argued that a demand meter can be removed from a Small Non-Residential Premise (up to 1000 kW) and replaced with an IDR that would not have to be utilized for settlement, because the IDR is used to determine (or calculate) the demand. This is contrary to the intent of Section 18.6.1. The proposed wording clarifies the original intent. |  |  |
| ## Timeline |  |  |  |  |
| Date Received |  |  | 10/11/2002 |  |
| Date Posted |  |  | 10/14/2002 |  |
| Comments Due |  |  | 11/04/2002 |  |
| PRS Review Date |  |  | 11/26/2002 |  |
| PRS Recommendation |  |  |  |  |
| TAC Consideration |  |  | 01/2003 |  |
| Board Consideration |  |  | 01/2003 |  |

Proposed Protocol Language Revision

## 18.6  Mandatory Installation and Use of Interval Data Recorders

### 18.6.1  Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Requirement:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Requirement.  Except as stated in item (4) of this subsection, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given premise shall continue to be settled with its interval data.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Requirement.  These loads shall be settled using Load Profiles.

- For premises not subject to the IDR Requirement in item (1) of this subsection, IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT regions shall install IDR metering capable of measuring the load served during the period the Load transfer is implemented.

| ## Sponsor |  |
| --- | --- |
| Name | Adrian Marquez |
| E-mail Address | amarquez@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive, Taylor, TX 76574 |
| Phone Number | 512.248.3915 |
| Fax Number | 512.248.3886 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |