| PRR Number | 373PRR | PRR Title | Define OOME as Instructed Deviation and Portfolio Out Of Merit Energy Service |
| --- | --- | --- | --- |
| ###### Date |  | 21 November 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Paul Messerschmidt |  |
| E-mail Address |  | Psmesserschmidt@tecoenergy.com |  |
| Company |  | Frontera Generation Limited Partnership |  |
| Company Address |  | P.O. Box 111, Tampa, FL 33601 |  |
| Phone Number |  | 813-228-4974 |  |
| Fax Number |  | 813-228-1289 |  |

Comments

Frontera Generation strongly supports PRR 373 with the comments submitted by Gary Singleton of Garland Power & Light.  Generators should not be punished for following an ERCOT instruction to meet the reliability needs of the grid, whether this instruction is issued before or after the balancing energy market clears.

### 6.7.7	Deployment of Out-of-Merit Energy Service

Deployment of units for OOME Service will follow Balancing Energy Service deployment guidelines as specified in Section 5, Dispatch of these Protocols.

      - When the Resource Specific OOME instruction is issued before the Balancing Energy Market clearing, the instructed deviation resulted from the OOME instruction will be defined as the difference between the instructed output level and the Resource Plan output level at the close of the Adjustment Period for the target service interval and the instructed deviation will be balanced using the balancing energy bid stack.  OOME instructions will be sent to QSEs concurrent with Balancing Energy instructions for the target interval.  The Balancing Energy deployment will be limited by the constraints imposed by the OOME instructions.  The instructed deviations for these OOME instructions will be included in the Balancing Energy instructions for that QSE for the target interval.  ERCOT must honor the unit ramp rates as indicated by the QSE’s Resource Plan.

      - Resource Specific OOME instructions issued after the Balancing Energy Market clearing will  be instructed deviations.  ERCOT will minimize these instructions.