| PRR Number | 373PRR | PRR Title | Define OOME as Instructed Deviation and Portfolio Out Of Merit Energy Service |
| --- | --- | --- | --- |
| ###### Date |  | 11/08/2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Gary Singleton |  |
| E-mail Address |  | gsingleton@garlandpower-light.org |  |
| Company |  | Garland Power & Light |  |
| Company Address |  | 525 East Ave B Garland, Texas 75040 |  |
| Phone Number |  | 972-205-3017 |  |
| Fax Number |  | 972-205-3106 |  |

Comments

The following changes in red are comment additions to this PRR. ERCOT should be held accountable to honor ramp rates as submitted by the QSE’s, and if ERCOT is going to issue OOME deployments after the Balancing Energy Market clearing, then these should be instructed deviations, otherwise, ERCOT should not issue deployments after the Balancing Energy Market closes.

### 6.7.7	Deployment of Out-of-Merit Energy Service

Deployment of units for OOME Service will follow Balancing Energy Service deployment guidelines as specified in Section 5, Dispatch of these Protocols.

      - When the Resource Specific OOME instruction is issued before the Balancing Energy Market clearing, the instructed deviation resulted from the OOME instruction will be defined as the difference between the instructed output level and the Resource Plan output level at the close of the Adjustment Period for the target service interval and the instructed deviation will be balanced using the balancing energy bid stack.  OOME instructions will be sent to QSEs concurrent with Balancing Energy instructions for the target interval.  The Balancing Energy deployment will be limited by the constraints imposed by the OOME instructions.  The instructed deviations for these OOME instructions will be included in the Balancing Energy instructions for that QSE for the target interval.  ERCOT must honor the unit ramp rates as indicated by the QSE’s Resource Plan.

      - Resource Specific OOME instructions issued after the Balancing Energy Market clearing will notbe instructed deviations.  ERCOT will minimize these instructions.